## 0 INTERLEAF
CA001: COMPRESSED AIR STATION

## 1 ST
Item | Description | Qty | Unit | Rate | Amount
J.D
STRUCTURAL WORKS
03 - CONCRETE
33000 - CAST IN PLACE CONCRETE
Cast in place concrete with 11 mpa compressive strength(cylinder); sulphate resisting portland cement; plain
A | Blinding | 7 | m³ | 103 | 721
0
| Cast in place concrete with 35 mpa compressive strength(cylinder); ordinary portland cement; reinforced |  |  |  | 0
0
B | Isolated foundations | 17 | m³ | 186 | 3162
0
C | Machine bases | 5.5 | m³ | 192 | 1056
0
D | Ground beams | 9 | m³ | 192 | 1728
0
E | Beds | 15 | m³ | 192 | 2880
0
F | Slabs | 19 | m³ | 186 | 3534
0
G | Attached drop beams (drop part below slab only) | 9.5 | m³ | 192 | 1824
0
H | Isolated columns | 9 | m³ | 199 | 1791
0
J | Upstands | 6.5 | m³ | 192 | 1248
0
| Steel reinforcement |  |  |  | 0
0
K | High yield steel; 420 mpa specified yield strength | 12 | T | 1031 | 12372
0
| 07 - THERMAL AND MOISTURE PROTECTION |  |  |  | 0
0
| 71113 - BITUMINOUS DAMP-PROOFING |  |  |  | 0
0
| Bituminous damp-proofing coating, applied to reinforced 'concrete surfaces in direct contact with soil not receiving water proofing membrane ,including appropriate protection system, for the following: |  |  |  | 0
0
0
A | Foundations ( sides & top) | 60 | m² | 10 | 600 | 95 | 35 | 350
0
B | Columns, | 9 | m² | 10 | 90 | 9
0
C | Ground beams, | 45 | m² | 10 | 450 | 45
0
| 31 - EARTHWORK |  |  |  | 0
0
| 311000 - SITE CLEARING |  |  |  | 0
0
| Site preparation |  |  |  | 0
0
D | Clearing the site generally | 1 | Item | 13747 | 13747
0
| 312000 - EARTHMOVING |  |  |  | 0
0
| Excavating |  |  |  | 0
0
E | To reduce levels | 80 | m³ | 5 | 400
0
| Soil fill and engineered fill |  |  |  | 0
0
F | Engineered fill | 12 | m³ | 8 | 96
STRUCTURAL WORKS
| To Summary |  |  | J.D | 45699

## 2 AR
Item | Description | Qty | Unit | Rate | Amount
J.D
ARCHITECTURAL WORKS
03- CONCRETE
035440 - CEMENT BASED SCREED
Cement-sand screed topping; trowelled finish, to receive flexible finish; to
A | Floors; 100 thick | 15 | m² | 21 | 315
0
| 05 - METALS |  |  |  | 0
0
| 055000 - METAL FABRICATIONS |  |  |  | 0
0
| Access ladders; galvanized steel; comprising flat strings and bar rungs; including paint, brackets; anchor bolts, fittings and fixings; complete; as specified and shown on Drawings |  |  |  | 0
0
B | 400 wide x 6000 rise; with safety cage | 1 | Nr | 3780 | 3780
0
| 07- THERMAL AND MOISTURE PROTECTION |  |  |  | 0
0
| 071416-COLD-FLUID-APPLIED WATERPROOFING |  |  |  | 0
0
| Cold fluid-applied waterproofing; single component modified polyurethane, seamless, joint-free, water and weathertight elastomeric membrane; to |  |  |  | 0
0
C | Roof | 88 | m² | 10 | 880
0
| 08 - OPENINGS |  |  |  | 0
0
| 081113 - HOLLOW METAL DOORS AND FRAMES |  |  |  | 0
0
| Flush steel doors; constructed from steel section frame, infill with non combustible thermal and acoustic insulating material where required, galvanized steel sheet both skins, factory primed for painting; including frames, architraves, paint, hardware, fittings and fixings; complete; as specified and as per door schedule |  |  |  | 0
0
| Non-fire rated doors |  |  |  | 0
0
A | Leaf type A01-A; Size 965 x 2175 high | 1 | Nr | 687 | 687
0
| 089119 - FIXED LOUVERS |  |  |  | 0
0
| Aluminium alloy fixed louvers; sand trap; powder coating finish; comprising blades, frame; including fittings and fixings; complete; as specified and as shown on drawings |  |  |  | 0
0
B | Size 5000 x 2000 high | 2 | Nr | 2749 | 5498
0
| 09- FINISHES |  |  |  | 0
0
| 092400 - PORTLAND CEMENT PLASTERING |  |  |  | 0
0
| Cement-sand plaster; plain finish; to |  |  |  | 0
0
C | Walls; 15 thick; internal | 121 | m² | 21 | 2541
0
D | Walls; 20 thick; external | 260 | m² | 27 | 7020
0
| 099113 - EXTERIOR PAINTING |  |  |  | 0
0
| External acrylic emulsion paint; resin based, water-resistant suitable for repeated washing and scrubbing; to concrete, masonry, render and plaster, to |  |  |  | 0
0
A | General surfaces; external | 335 | m² | 10 | 3350
0
| 099123 - INTERIOR PAINTING |  |  |  | 0
0
| Interior acrylic emulsion paint, water resistant suitable for repeated washing and scrubbing, to concrete, masonry, render and plaster; to |  |  |  | 0
0
B | General surfaces; internal | 136 | m² | 8 | 1088
0
| 099600 - HIGH PERFORMANCE COATINGS |  |  |  | 0
0
| Epoxy concrete floor sealer; heavy duty, water dispersed, chemical resistant, coloured, dustproofer and surface sealer; to |  |  |  | 0
0
C | Floors | 15 | m² | 23 | 345
0
D | Skirting; 100 high coved | 25 | m | 23 | 575
0
| Polyurethane coating; two component; to trowelled concrete surfaces; to |  |  |  | 0
0
E | Floors | 75 | m² | 10 | 750
ARCHITECTURAL WORKS
| To Summary |  |  | J.D | 26829

## 3 ME
Item | Description | Qty | Unit | Rate | Amount
J.D
MECHANICAL WORKS
SUPPLY AND INSTALL
01 – GENERAL REQUIREMENTS
011117 - MECHANICAL AND PIPING SCOPE OF WORK
A | Testing and commisioning in conjunction with the below works | 1 | Item | 34500 | 34500
0
| EXCAVATION, BACKFILL, AND COMPACTION FOR PIPING INSTALLATION |  |  |  | 0
0
B | Trench Excavation | 1 | Item | 13747 | 13747
0
C | Backfill | 1 | Item | 6874 | 6874
0
| 10 - SPECIALTIES |  |  |  | 0
0
| 104400 - FIRE PROTECTION SPECIALTIES |  |  |  | 0
0
| Fire extinguishers |  |  |  | 0
0
0
D | FE-1 (4.5kg Dry Chemical extinguisher) | 1 | Nr | 445.7269 | 445.73
0
E | FE-2 (4.5kg CO2 extinguisher) | 1 | Nr | 445.7269 | 445.73
0
| 22 - PLUMBING |  |  |  | 0
0
| 221316 - SANITARY WASTE AND VENT PIPING |  |  |  | 0
| Including piping, fittings, connections, joints, encasement and valves |  |  |  | 0
0
| Drainage - CAST IRON |  |  |  | 0
0
A | 100 mm dn | 10 | m | 69 | 690
0
| Storm Drain - CAST IRON |  |  |  | 0
0
B | 100 mm dn | 6 | m | 69 | 414
0
| 221423 FL - STORM DRAINAGE PIPING SPECIALTIES |  |  |  | 0
0
| Roof Drain |  |  |  | 0
0
C | SRD-1 100mm dn | 1 | Nr | 687 | 687
0
| 23 - HEATING, VENTILATION & AIR CONDITIONING |  |  |  | 0
0
| 233113 - METAL DUCLS |  |  |  | 0
| Metal ducts, including plates, sealant, hangers, supports, casings, framing, tie-rods and all the necessary accessories as per specifications |  |  |  | 0
0
D | Glavanized, Sheet Steel | 500 | Kg | 10.25 | 5125
0
| 23300 - AIR DUCT ACCESSORIES |  |  |  | 0
0
| Back Draft Dampers |  |  |  | 0
0
E | 650x500 BDD | 2 | Nr | 1689 | 3378
0
| 25 - INTEGRATED AUTOMATION |  |  |  | 0
0
| Supply, Installation, Connection, Testing and Commissioning Works of: |  |  |  | 0
0
A | Pressure Gauge (16-PI-0631) installed at Compressor 16-02-010 discharge line; and all necessary items as per relevant drawings and specifications. | 1 | Nr | 480.568 | 480.57
|  |  |  | 0 | 0
B | Pressure Gauge (16-PI-0632) installed at Compressor 16-02-020 discharge line; and all necessary items as per relevant drawings and specifications. | 1 | Nr | 480.568 | 480.57
|  |  |  | 0 | 0
C | Differential Pressure Switches (16-DPSH-0631/0632) installed across the each air filter; and all necessary items as per relevant drawings and specifications. | 2 | Nr | 1506.56 | 3013.12
|  |  |  | 0 | 0
D | Pressure Transmitter (16-PIT-0630) installed at the compressors discharge header downstream air receiver (AR-01); and all necessary items as per relevant drawings and specifications. | 1 | Nr | 1676.56 | 1676.56
|  |  |  | 0 | 0
E | Pressure Gauge (16-PI-0630) installed at the compressors discharge header downstream air receiver (AR-01); and all necessary items as per relevant drawings and specifications. | 1 | Nr | 519.88 | 519.88
|  |  |  | 0 | 0
A | Temperature Gauge (16-TI-0630) installed at the compressors discharge header downstream air receiver (AR-01); and all necessary items as per relevant drawings and specifications.specifications. | 1 | Nr | 519.88 | 519.88
|  |  |  | 0 | 0
B | Instrumentation & Control Cable Ladder 150 mm hot dip galvanized with powder coating, elevated cover and all necessary items as per relevant drawings and specifications. | 15 | m | 93.1237 | 1396.86
|  |  |  | 0 | 0
C | 1.5mm2,300V, 2 pairs,Individually&overall shielded,armoured, as per relevant drawings and specifications. | 300 | m | 13.9798 | 4193.94
|  |  |  | 0 | 0
D | Modbus RTU Cables, as per relevant drawings and specifications. | 100 | m | 9.0198 | 901.98
|  |  |  | 0 | 0
E | I&C cable trench, 600mm width and 600mm Depth, excavation and backfilling after cable installation as shown on drawings along with all related civil works, all as per relevant drawings and specifications. | 30 | m | 23 | 690
|  |  |  | 0 | 0
F | All bulk material including but not limited to rigid cable conduits, conduits and supports, cable connectors and terminators, required for the complete operation of the system as indicated in relevant Drawings & Documents | 1 | Item | 3931.2 | 3931.2
|  |  |  | 0 | 0
A | All cables, relays, contactors, connection boxes, panels, not covered in Contractor scope mentionned above, but required for the complete operation of the system as indicated in related Contract Drawings & Documents | 1 | Item | 3931.2 | 3931.2
0
| 40 – PROCESS INTERCONNECTIONS |  |  |  | 0
0
| 400500 - PIPING MATERIALS |  |  |  | 0
0
| Valves |  |  |  | 0
0
| Gate Valve V-109 |  |  |  | 0
0
B | 3" dn | 12 | Nr | 680 | 8160
|  |  |  | 0 | 0
| Automatic Drain Valve |  |  | 0 | 0
|  |  |  | 0 | 0
C | 1" dn | 2 | Nr | 200 | 400
|  |  |  | 0 | 0
| Ball Valve V-507 |  |  | 0 | 0
|  |  |  | 0 | 0
D | 1" dn | 2 | Nr | 200 | 400
|  |  |  | 0 | 0
| PIPING WORK |  |  | 0 | 0
|  |  |  | 0 | 0
| Spec H |  |  | 0 | 0
|  |  |  | 0 | 0
E | 1" dn | 5 | m | 41.51 | 207.55
|  |  |  | 0 | 0
F | 3" dn | 45 | m | 53.27 | 2397.15
|  |  |  | 0 | 0
| Bellows |  |  | 0 | 0
|  |  |  | 0 | 0
G | Expansion joint, 4W split galv. CS flange ASME B16.5 Class 150 FF, EPDM rubber bellows | 2 | Nr | 375 | 750
|  |  |  | 0 | 0
| 43 - PROCESS GAS AND LIQUID HANDLING |  |  | 0 | 0
|  |  |  | 0 | 0
| 431200 - AIR COMPRESSORS, DRYERS AND RECEIVERS |  |  | 0 | 0
|  |  |  | 0 | 0
A | Oil Free Screw Air Compressor, Air Cooled, 16-02-010 | 1 | Nr | 112977.15 | 112977.15
|  |  |  | 0 | 0
B | Oil Free Screw Air Compressor, Air Cooled, 16-02-011 | 1 | Nr | 112977.15 | 112977.15
|  |  |  | 0 | 0
C | Air Dryer, 16-25-010. | 1 | Nr | 25254.44 | 25254.44
|  |  |  | 0 | 0
D | Air Dryer, 16-25-011. | 1 | Nr | 25254.44 | 25254.44
|  |  |  | 0 | 0
E | 2600 L Air Receiver, 16-13-010. | 1 | Nr | 13425.61 | 13425.61
|  |  |  | 0 | 0
F | Air Filter 16-12-010 | 1 | Nr | 6386.19 | 6386.19
|  |  |  | 0 | 0
G | Air Filter 16-12-020 | 1 | Nr | 6386.19 | 6386.19
MECHANICAL WORKS
| To Summary |  |  | J.D | 403018.09

## 4 EL
Item | Description | Qty | Unit | Rate | Amount
J.D
ELECTRICAL WORKS
SUPPLY AND INSTALLATION WORKS
260536 - CABLE TRAYS FOR ELECTRICAL SYSTEMS
Cable Trays (Ladder Type); hot dip galvanized with powder coating
A | 150mm | 5 | m | 84.556 | 422.78
|  |  |  | 0 | 0
B | 300mm | 15 | m | 90.056 | 1350.84
|  |  |  | 0 | 0
| Cable Trays (Ladder Type); hot dip galvanized with powder coating and elevated cover |  |  | 0 | 0
|  |  |  | 0 | 0
C | 300mm | 5 | m | 158.074 | 790.37
|  |  |  | 0 | 0
| 262726 - WIRING DEVICES |  |  | 0 | 0
|  |  |  | 0 | 0
| Wiring devices including boxes, conduits, wires and connections to power source, covers, supports, fittings and accessories; As shown on drawings and described in the specifications . |  |  | 0 | 0
|  |  |  | 0 | 0
| Lighting Switches |  |  | 0 | 0
|  |  |  | 0 | 0
D | One way switch, one gang, weatherproof | 2 | Nr | 162.1889 | 324.38
|  |  |  | 0 | 0
| Socket outlets |  |  | 0 | 0
|  |  |  | 0 | 0
E | 13 A socket outlet, simplex, weatherproof | 1 | Nr | 172.0422 | 172.04
|  |  |  | 0 | 0
F | Combined unit socket outlet | 1 | Nr | 4014.0054 | 4014.01
|  |  |  | 0 | 0
| 265100 - INTERIOR LIGHTING |  |  | 0 | 0
|  |  |  | 0 | 0
| Lighting fixtures as specified and shown on the drawings. |  |  | 0 | 0
|  |  |  | 0 | 0
A | Type B3 | 19 | Nr | 176.526 | 3353.99
ELECTRICAL WORKS
| To Summary |  |  | J.D | 10428.41

## 5 SUMMARY
SUMMARY
ITEM |  |  | AMOUNT
J.D
1 | STRUCTURAL WORKS |  | 45699
2 | ARCHITECTURAL WORKS |  | 26829
3 | MECHANICAL WORKS |  | 403018.09
4 | ELECTRICAL WORKS |  | 10428.41
TOTAL
| To General Summary | J.D | 485974.5