## 0 INTERLEAF
CP001: COMPACTION PLANT

## 1 ST
Item | Description | Qty | Unit | Rate | Amount
J.D
STRUCTURAL WORKS
03 - CONCRETE
33000 - CAST IN PLACE CONCRETE
Cast in place concrete with 11 mpa compressive strength(cylinder); sulphate resisting portland cement; plain
A | Blinding | 240 | m³ | 103 | 24720
0
| Cast in place concrete with 35 mpa compressive strength(cylinder); ordinary portland cement; reinforced |  |  |  | 0
0
B | Mat foundation | 8020 | m³ | 170 | 1363400
0
C | Machine bases | 45 | m³ | 192 | 8640
0
D | Ground beams | 30 | m³ | 192 | 5760
0
E | Beds | 350 | m³ | 192 | 67200
0
F | Walls | 5 | m³ | 199 | 995
0
G | Concrete deck | 145 | m³ | 192 | 27840
0
| Cast in place concrete with 60 mpa compressive strength(cylinder); ordinary portland cement; reinforced |  |  |  | 0
0
H | Pedestals | 600 | m³ | 261 | 156600
0
| Steel reinforcement |  |  |  | 0
0
J | High yield steel; 420 mpa specified yield strength | 1350 | T | 1031 | 1391850
0
| 05 METALS |  |  |  | 0
0
| Includes Compaction Plant, Fresh Feed Conveyor and Fresh Feed Bucket Elevator Steel Structures |  |  |  | 0
0
| 05 12 00 - STRUCTURAL STEEL FRAMING |  |  |  | 0
0
| All works shall be completed in all respect as per specifications, method of measurement, drawings or as directed by the Contractor Engineer. |  |  |  | 0
0
A | High Strength Steel | 3150 | T | 3100 | 9765000
0
| Fabricate, Supply, Transport and Erect in position structural steel work and framing including steel columns, steel beams, steels canopy, truss,cable tray rack structure, connections design, shop drawings, all bolts, nuts, washers, plates, base plates, stiffening plates, gusset plates, holding down of anchor bolts, shear connectors, angle sections, cleats, bracing, etc. including grouting, cutting, welding, threading, fixing and corrosion protection paint system to ensure life to first maintenance as per specifications. Allowance for steel-to-steel connections, caps, plates,embeded plates and bases, fittings, weight of welds, bolts, nuts, washers, shear studs, rivets and weight of protective coatings, etc. are considered as a percentage of total steel tonnage (max of 30 % is envisaged) This shall include the analysis, design and detailing of all steelwork joints and connections during the development of Contractor's (and sub-contractors') steelwork shop drawings. |  |  |  | 0
0
A | Grating | 7100 | m² | 160.4301 | 1139053.36
| To include galvanization, kicker plates and all fixation accessories as per the specifications. |  |  |  | 0
0
B | Checkered Plates | 220 | m² | 250 | 55000
| To include galvanization, kicker plates and all fixation accessories as per the specifications. |  |  |  | 0
0
C | Handrails | 2650 | lm | 116 | 307400
0
D | Stairs and ladders for platforms located above levels 1, 3, 5 & 6. | 1 | Item | 158339.3749 | 158339.37
0
| Design, Fabricate, Supply, Transport and Erect in position structural steel work and framing including steel columns, steel beams, connections design, shop drawings, all bolts, nuts, washers, plates, stiffening plates, gusset plates, shear connectors, angle sections, cleats, bracing, etc. including all fixation accessories, grating, handrails and galvanization or corrosion protection paint system to ensure life to first maintenance as per specifications. This shall include the analysis, design and detailing of all steelwork joints and connections during the development of Contractor's (and sub-contractors') steelwork shop drawings. |  |  |  | 0
0
F | Feed Equipment inside Screening Building | 1 | Item | 195809.7615 | 195809.76
| Survey to ensure/verify that all the affected floor members/connections at Feed Equipment supports in the Screening Building and make the necessary adjustments to ensure adequate support for the Feed Equipmemt. Design, Fabricate, Supply, Transport and Erect in position structural steel work and framing for the Feed Equipment steel support inside the Screening Building including steel columns, steel beams, connections design, shop drawings, all bolts, nuts, washers, plates, stiffening plates, gusset plates, shear connectors, angle sections, cleats, bracing, etc. including all fixation accessories and galvanization or corrosion protection paint system to ensure life to first maintenance as per specifications. This shall include the analysis, design and detailing of all steelwork joints and connections during the development of Contractor's (and sub-contractors') steelwork shop drawings. Submit as-built drawings for the existing floor supporting the Feed Equipment in the Screening Building that include the new works. |  |  |  | 0
0
0
| 05 31 00 - STEEL DECKING |  |  |  | 0
0
| All works shall be completed in all respect as per specifications, method of measurement, drawings or as directed by the Contractor Engineer. |  |  |  | 0
0
A | Galvanized steel formed deck as specified in drawings or approved equal | 1150 | m² | 52.4695 | 60339.93
0
0
0
0
0
| 07 - THERMAL AND MOISTURE PROTECTION |  |  |  | 0
0
| 71113 - BITUMINOUS DAMP-PROOFING |  |  |  | 0
0
| Bituminous damp-proofing coating, applied to reinforced 'concrete surfaces in direct contact with soil not receiving water proofing membrane ,including appropriate protection system, for the following: |  |  |  | 0
0
0
A | Foundations ( sides & top) | 4500 | m² | 10 | 45000 | 7350 | 2850 | 28500
0
B | Columns, | 900 | m² | 10 | 9000
0
C | Ground beams, | 250 | m² | 10 | 2500
0
| 31 - EARTHWORK |  |  |  | 0
0
| 311000 - SITE CLEARING |  |  |  | 0
0
| Site preparation |  |  |  | 0
0
D | Clearing the site generally | 1 | Item | 13747 | 13747
0
| 312000 - EARTHMOVING |  |  |  | 0
0
| Excavating |  |  |  | 0
0
E | To reduce levels | 14600 | m³ | 5 | 73000
0
| Soil fill and engineered fill |  |  |  | 0
0
F | Engineered fill | 2200 | m³ | 8 | 17600
STRUCTURAL WORKS
| To Summary |  |  | J.D | 14888794.42

## 2 AR
Item | Description | Qty | Unit | Rate | Amount
J.D
ARCHITECTURAL WORKS
03- CONCRETE
035440 - CEMENT BASED SCREED
Cement-sand screed; finished to receive sheet membrane, laid to falls and cross falls;
A | Roofs; 100 thick | 1175 | m² | 21 | 24675
0
| 07- THERMAL AND MOISTURE PROTECTION |  |  |  | 0
0
| 074113 - METAL ROOF PANELS |  |  |  | 0
0
| Corrugated roof sheets; zinc coated galvanzied steel, factory finishes; including flashings, trims, accessories and fixings; complete; as specified and shown on Drawings |  |  |  | 0
0
B | Roof covering | 1350 | m² | 62.339 | 84157.68
0
C | Gutter; 3 mm thick | 63 | m | 155.5927 | 9802.34
0
| 09- FINISHES |  |  |  | 0
0
| 096723 - RESINOUS FLOORING |  |  |  | 0
0
| Epoxy concrete floor sealer; water dispersed, chemical resistant, coloured, dustproofer and surface sealer; to |  |  |  | 0
0
D | Floors | 2750 | m² | 23 | 63250
0
0
0
0
ARCHITECTURAL WORKS
| To Summary |  |  | J.D | 181885.02

## 3 ME
Item | Description | Qty | Unit | Rate | Amount
J.D
MECHANICAL WORKS
SUPPLY AND INSTALL
01 – GENERAL REQUIREMENTS
011117 - MECHANICAL AND PIPING SCOPE OF WORK
A | Testing and commisioning in conjunction with the blow works | 1 | Item | 74336 | 74336
0
| EXCAVATION, BACKFILL, AND COMPACTION FOR PIPING INSTALLATION |  |  |  | 0
0
B | Trench Excavation | 1 | Item | 53284 | 53284
0
C | Backfill | 1 | Item | 33303 | 33303
D | Provisional sum for Cranes maintenance platforms including, cage ladders, grating and handrails as per structural steel specifications, actual site conditions, and as per Owner/Engineer’s requirements and approval. |  |  |  | 100000
10 - SPECIALTIES
104400 - FIRE PROTECTION SPECIALTIES
Fire extinguishers
E | FE-1 (4.5kg Dry Chemical extinguisher) | 28 | Nr | 445.73 | 12480.44
0
F | FE-2 (4.5kg CO2 extinguisher) | 28 | Nr | 445.73 | 12480.44
0
| 22 - PLUMBING |  |  |  | 0
0
| 221119 FL - DOMESTIC WATER PIPING SPECIALTIES |  |  |  | 0
0
| Hose Stations |  |  |  | 0
0
A | Hose Bibs | 14 | Nr | 380 | 5320
0
| 221316 - SANITARY WASTE AND VENT PIPING |  |  |  | 0
| Including piping, fittings, connections, joints, encasement and valves |  |  |  | 0
0
| Drainage - CAST IRON PIPES |  |  |  | 0
0
B | 50 mm dn | 10 | m | 34 | 340
0
C | 75 mm dn | 105 | m | 45 | 4725
0
D | 100 mm dn | 85 | m | 69 | 5865
0
E | 150 mm dn | 75 | m | 110 | 8250
0
| Oil Collection - UPVC |  |  |  | 0
0
F | 110 mm dn | 25 | m | 36 | 900
0
| Drainage - UPVC |  |  |  | 0
0
G | 150 mm dn | 140 | m | 48 | 6720
0
H | 200 mm dn | 160 | m | 69 | 11040
0
| Vent - CAST IRON PIPES |  |  |  | 0
0
J | 75 mm dn | 5 | m | 48 | 240
0
K | 100 mm dn | 5 | m | 69 | 345
0
L | 150 mm dn | 5 | m | 110 | 550
0
| Storm Drain - CAST IRON PIPES |  |  |  | 0
0
A | 100 mm dn | 390 | m | 69 | 26910
0
| 221319 - SANITARY WASTE PIPING SPECIALTIES |  |  |  | 0
0
| Cleanouts |  |  |  | 0
0
B | Type CO-1, 75 mm | 3 | Nr | 216 | 648
0
C | Type CO-1, 100 mm | 3 | Nr | 275 | 825
0
D | Type CO-1, 150 mm | 2 | Nr | 323 | 646
0
| Floor drains |  |  |  | 0
0
E | FD-01 400x400, 100 mm | 11 | Nr | 412 | 4532
0
F | FD-02 200x200, 100 mm | 2 | Nr | 275 | 550
0
| Inspection Chamber |  |  |  | 0
0
G | IC-01 | 10 | Nr | 1375 | 13750
0
| Oil Inspection Chamber with Heavy Duty Cast Iron Cover |  |  |  | 0
0
H | 1500x1500 | 1 | Nr | 2749 | 2749
0
J | 2000x2000 | 1 | Nr | 5499 | 5499
0
| Trench Cover |  |  |  | 0
0
K | 500mm Width | 86 | m | 316 | 27176
0
| Trench Drain |  |  |  | 0
0
L | TD - 150mm | 13 | Nr | 536 | 6968
0
| 224000 - PLUMBING FIXTURES |  |  |  | 0
0
M | Eye/Shower Wash | 11 | Nr | 962 | 10582
0
| 25 - INTEGRATED AUTOMATION |  |  |  | 0
0
| Installation, Connection, Assisting in Testing and Commissioning Works of: |  |  |  | 0
0
A | All Instruments, Cables, Local Control Panels and Junction Boxes and all related items related to Koppern Procured Equipment as indicated in Vendor/Manufacturer drawings/documents. | 1 | Item | 143640 | 143640
|  |  |  | 0 | 0
| Supply, Installation, Connection, Testing and Commissioning Works of: |  |  | 0 | 0
|  |  |  | 0 | 0
B | Compactor 16-27-027 Local HMI Panel, including but not limited to HMI from ABB (800xA series), Patch Panel, Industrial Managed Ethernet Switch, Double Enclosure Stainless Steel Type 316L with sight glass, and all required devices, components and accessories, all as per relevant drawings and specifications. | 1 | Nr | 37278 | 37278
|  |  |  | 0 | 0
C | Compactor 16-27-016 Local HMI Panel, including but not limited to HMI from ABB (800xA series), Double Enclosure Stainless Steel Type 316L with sight glass, and all required devices, components and accessories, all as per relevant drawings and specifications. | 1 | Nr | 27450 | 27450
|  |  |  | 0 | 0
A | Compactors Local Emergency Stop Panels, including but not limited to Emergency Stop Push Buttons, PILZ (PNOZ X10) safety relay devices, Enclosures Stainless Steel Type 316L, and all required devices, components and accessories, all as per relevant drawings and specifications. | 2 | Nr | 18700 | 37400
|  |  |  | 0 | 0
B | Belt conveyors pull rope switches Junction Box - Type A - (W:406mm x H:508mm x D:203 mm) to be used for connecting the pull rope switches of each belt conveyor (14-29-200, 14-29-120, 16-29-140 and 16-29-200) in series, and then connect to the relevant motor starter for hardwired interlock purposes, including all necessary items as per vendor drawings and specifications. | 4 | Nr | 581.568 | 2326.27
|  |  |  | 0 | 0
C | Instrument Junction Box (IJB) Type A and all necessary items as per relevant drawings and specifications. | 1 | Nr | 522.6 | 522.6
|  |  |  | 0 | 0
D | Instrument Junction Box (IJB) Type B and all necessary items as per relevant drawings and specifications. | 2 | Nr | 542.81 | 1085.62
|  |  |  | 0 | 0
E | Instrument Junction Box (IJB) Type C and all necessary items as per relevant drawings and specifications. | 2 | Nr | 652 | 1304
|  |  |  | 0 | 0
F | Instrument Junction Box (IJB) Type D and all necessary items as per relevant drawings and specifications. | 10 | Nr | 1083.81 | 10838.1
|  |  |  | 0 | 0
A | Instrument Power Panels (IPP) and all necessary items as per relevant drawings and specifications. | 10 | Nr | 344.44 | 3444.4
|  |  |  | 0 | 0
B | Local Control Station Type FVNR and all necessary items as per relevant drawings and specifications. | 59 | Nr | 179.936 | 10616.22
|  |  |  | 0 | 0
C | Local Control Station Type FVR and all necessary items as per relevant drawings and specifications. | 11 | Nr | 192.336 | 2115.7
|  |  |  | 0 | 0
D | Local Control Station Type VFD and all necessary items as per relevant drawings and specifications. | 19 | Nr | 198.536 | 3772.18
|  |  |  | 0 | 0
E | Local Control Station Type VFDR and all necessary items as per relevant drawings and specifications. | 3 | Nr | 198.536 | 595.61
|  |  |  | 0 | 0
F | Local Control Station Type SG for Pneumatic Slide Gates, and all necessary items as per relevant drawings and specifications. | 11 | Nr | 178.88 | 1967.68
|  |  |  | 0 | 0
G | Pressure Gauge (16-PG-4148) at the post treatment water pump 1 No. 16-01-213 suction line, and all necessary items as per relevant drawings and specifications. | 1 | Nr | 480.568 | 480.57
|  |  |  | 0 | 0
H | Pressure Gauge (16-PG-4149) at the post treatment water pump 1 No. 16-01-213 discharge line, and all necessary items as per relevant drawings and specifications. | 1 | Nr | 480.568 | 480.57
|  |  |  | 0 | 0
A | Pressure Gauge (16-PG-4164) at the post treatment water pump 2 No. 16-01-214 suction line, and all necessary items as per relevant drawings and specifications. | 1 | Nr | 480.568 | 480.57
|  |  |  | 0 | 0
B | Pressure Gauge (16-PG-4165) at the post treatment water pump 2 No. 16-01-214 discharge line, and all necessary items as per relevant drawings and specifications. | 1 | Nr | 480.568 | 480.57
|  |  |  | 0 | 0
C | Pressure Gauge (16-PG-1368) at the post treatment oil/amine pump 1 No. 16-01-223 suction line, and all necessary items as per relevant drawings and specifications. | 1 | Nr | 480.568 | 480.57
|  |  |  | 0 | 0
D | Pressure Gauge (16-PG-1369) at the post treatment oil/amine pump 1 No. 16-01-223 discharge line, and all necessary items as per relevant drawings and specifications. | 1 | Nr | 480.568 | 480.57
|  |  |  | 0 | 0
E | Pressure Gauge (16-PG-1384) at the post treatment oil/amine pump 2 No. 16-01-224 suction line, and all necessary items as per relevant drawings and specifications. | 1 | Nr | 480.568 | 480.57
|  |  |  | 0 | 0
F | Pressure Gauge (16-PG-1385) at the post treatment oil/amine pump 2 No. 16-01-224 discharge line, and all necessary items as per relevant drawings and specifications. | 1 | Nr | 480.568 | 480.57
|  |  |  | 0 | 0
G | Ultrasonic Level element and related transmitter (16-LE/LIT-0711) installed at the Glazing Reagent Preparation Tank, and all necessary items as per relevant drawings and specifications. | 1 | Nr | 2121.56 | 2121.56
|  |  |  | 0 | 0
A | Pressure Gauges (16-PI-0721/0722) at the glazing reagent preparation tank pump 1 No. 16-01-217 Suction line across the strainer and all necessary items as per relevant drawings and specifications. | 2 | Nr | 480.568 | 961.14
|  |  |  | 0 | 0
B | Pressure Gauges (16-PI-0731/0732) at the glazing reagent preparation tank pump 2 No. 16-01-218 Suction line across the strainer and all necessary items as per relevant drawings and specifications. | 2 | Nr | 480.568 | 961.14
|  |  |  | 0 | 0
C | Pressure Gauges (16-PI-0724/0734) at the glazing reagent preparation tank pumps 1&2 Discharge lines and all necessary items as per relevant drawings and specifications. | 2 | Nr | 480.568 | 961.14
|  |  |  | 0 | 0
D | Ultrasonic Level element and related transmitter (16-LE/LIT-0751) installed at the Mineral Oil Storage Tank, and all necessary items as per relevant drawings and specifications. | 1 | Nr | 1086.56 | 1086.56
|  |  |  | 0 | 0
E | Pressure Gauges (16-PI-0761/0762) at the Mineral Oil Storage Tank pump 1 No. 16-01-227 Suction line across the strainer and all necessary items as per relevant drawings and specifications. | 2 | Nr | 480.568 | 961.14
|  |  |  | 0 | 0
F | Pressure Gauges (16-PI-0771/0772) at the Mineral Oil Storage Tank pump 2 No. 16-01-228 Suction line across the strainer and all necessary items as per relevant drawings and specifications. | 2 | Nr | 480.568 | 961.14
|  |  |  | 0 | 0
A | Pressure Gauges (16-PI-0764/0774) at the Mineral Oil Storage Tank pumps 1&2 Discharge lines and all necessary items as per relevant drawings and specifications. | 2 | Nr | 480.568 | 961.14
|  |  |  | 0 | 0
B | Ultrasonic Level element and related transmitter (16-LE/LIT-0801) installed at the Diesel Tank, and all necessary items as per relevant drawings and specifications. | 1 | Nr | 1086.56 | 1086.56
|  |  |  | 0 | 0
C | Pressure Gauges (16-PI-0811/0821) at the Diesel Tank pumps 1&2 Suction lines and all necessary items as per relevant drawings and specifications. | 2 | Nr | 480.568 | 961.14
|  |  |  | 0 | 0
D | Pressure Gauges (16-PI-0813/0823) at the Diesel Tank pumps 1&2 Discharge lines and all necessary items as per relevant drawings and specifications. | 2 | Nr | 480.568 | 961.14
|  |  |  | 0 | 0
E | Pressure Gauge (16-PI-0864) at the compactors cooling water system expansion tank and all necessary items as per relevant drawings and specifications. | 1 | Nr | 480.568 | 480.57
|  |  |  | 0 | 0
F | Pressure Gauges (16-PI-0857/0858) at the cooling water supply pump 1 No. 16-01-230 Suction line across the strainer and all necessary items as per relevant drawings and specifications. | 2 | Nr | 480.568 | 961.14
|  |  |  | 0 | 0
G | Pressure Gauges (16-PI-0860/0861) at the cooling water supply pump 2 No. 16-01-231 Suction line across the strainer and all necessary items as per relevant drawings and specifications. | 2 | Nr | 480.568 | 961.14
|  |  |  | 0 | 0
A | Pressure Gauges (16-PI-0859/0862) at the cooling water supply pumps 1&2 Discharge lines and all necessary items as per relevant drawings and specifications. | 2 | Nr | 480.568 | 961.14
|  |  |  | 0 | 0
B | Temperature element and related transmitter (16-TE/TIT-0865) installed at the cooling water supply pumps discharge header, and all necessary items as per relevant drawings and specifications. | 1 | Nr | 798.28 | 798.28
|  |  |  | 0 | 0
C | Pressure Transmitter (16-PIT-0866) installed at the cooling water supply pumps discharge header; and all necessary items as per relevant drawings and specifications. | 1 | Nr | 1676.56 | 1676.56
|  |  |  | 0 | 0
D | 6" Electromagnetic Flowmeter and Remote Transmitter (16-FE/FIT-0867), with additional weatherproof enclosure (Stainless Steel 316L, IP66, and with viewing window), installation accessories, cables/cable containment, installed at the cooling water supply pumps discharge header; complete with all necessary items as per relevant drawings and specifications. | 1 | Nr | 4207.64 | 4207.64
|  |  |  | 0 | 0
E | Temperature element and related transmitter (16-TE/TIT-0869) installed at the cooling water return line from compactors, and all necessary items as per relevant drawings and specifications. | 1 | Nr | 798.28 | 798.28
|  |  |  | 0 | 0
A | Differential Pressure Transmitter (16-DPIT-0868) installed at the cooling water supply and return lines (to/from compactors); and all necessary items as per relevant drawings and specifications. | 1 | Nr | 2694.84 | 2694.84
|  |  |  | 0 | 0
B | Pressure Gauges (16-PI-3589/3689) at each Compactor Cooling Water supply line and all necessary items as per relevant drawings and specifications. | 2 | Nr | 480.568 | 961.14
|  |  |  | 0 | 0
C | Temperature Gauges (16-TI-3589L/3689L) installed at each Compactor cooling water return line; and all necessary items as per relevant drawings and specifications. | 2 | Nr | 480.568 | 961.14
|  |  |  | 0 | 0
D | Temperature element and related transmitter (30-TE/TIT-3589/3689) installed at each compactor Cooling water return line, and all necessary items as per relevant drawings and specifications. | 1 | Nr | 798.28 | 798.28
|  |  |  | 0 | 0
E | Instrumentation & Control Cable Ladder 150 mm hot dip galvanized with powder coating, elevated cover and all necessary items as per relevant drawings and specifications. | 350 | m | 114.2297 | 39980.4
|  |  |  | 0 | 0
F | Instrumentation & Control Cable Ladder 300 mm hot dip galvanized with powder coating, elevated cover and all necessary items as per relevant drawings and specifications. | 270 | m | 143.0136 | 38613.68
|  |  |  | 0 | 0
A | Instrumentation & Control Cable Ladder 450 mm hot dip galvanized with powder coating, elevated cover and all necessary items as per relevant drawings and specifications. | 45 | m | 175.5626 | 7900.31
|  |  |  | 0 | 0
B | Instrumentation & Control Cable Ladder 600 mm hot dip galvanized with powder coating, elevated cover and all necessary items as per relevant drawings and specifications. | 180 | m | 197.6951 | 35585.12
|  |  |  | 0 | 0
C | Instrumentation & Control Cable Ladder 900 mm hot dip galvanized with powder coating, elevated cover and all necessary items as per relevant drawings and specifications. | 80 | m | 245.4376 | 19635.01
|  |  |  | 0 | 0
D | 1.5mm2,450/750V,3c,armoured cable as per relevant drawings and specifications. | 2965 | m | 9.0198 | 26743.71
|  |  |  | 0 | 0
E | 1.5mm2,450/750V,4c,armoured cable, as per relevant drawings and specifications. | 1010 | m | 10.0738 | 10174.54
|  |  |  | 0 | 0
F | 1.5mm2,450/750V,5c,armoured cable, as per relevant drawings and specifications. | 11140 | m | 10.5698 | 117747.57
|  |  |  | 0 | 0
G | 1.5mm2,450/750V,7c,armoured cable, as per relevant drawings and specifications. | 5085 | m | 11.8098 | 60052.83
|  |  |  | 0 | 0
H | 1.5mm2,450/750V,10c,armoured cable, as per relevant drawings and specifications. | 640 | m | 15.8306 | 10131.58
|  |  |  | 0 | 0
A | 1.5mm2,300V, 2 pairs,Individually&overall shielded,armoured, as per relevant drawings and specifications. | 8325 | m | 13.9798 | 116381.84
|  |  |  | 0 | 0
B | 1.5mm2,300V, 4 pairs,Individually&overall shielded,armoured, as per relevant drawings and specifications. | 4580 | m | 19.3118 | 88448.04
|  |  |  | 0 | 0
C | 1.5mm2,300V, 6 pairs,Individually&overall shielded,armoured, as per relevant drawings and specifications. | 650 | m | 25.0686 | 16294.59
|  |  |  | 0 | 0
D | 1.5mm2,300V, 8 pairs,Individually&overall shielded,armoured, as per relevant drawings and specifications. | 400 | m | 29.1606 | 11664.24
|  |  |  | 0 | 0
E | 1.5mm2,300V,10 pairs,Individually&overall shielded,armoured, as per relevant drawings and specifications. | 750 | m | 39.1426 | 29356.95
|  |  |  | 0 | 0
F | 1.5mm2,300V,12 pairs,Individually&overall shielded,armoured, as per relevant drawings and specifications. | 1545 | m | 39.1426 | 60475.32
|  |  |  | 0 | 0
G | 1.5mm2,300V,16 pairs,Individually&overall shielded,armoured, as per relevant drawings and specifications. | 1760 | m | 48.1854 | 84806.3
|  |  |  | 0 | 0
H | 1.5mm2,300V,20 pairs,Individually&overall shielded,armoured, as per relevant drawings and specifications. | 1385 | m | 59.7174 | 82708.6
|  |  |  | 0 | 0
A | 2.5mm2,0.6/1kV,3c,armoured cable, as per relevant drawings and specifications. | 4245 | m | 14.7858 | 62765.72
|  |  |  | 0 | 0
B | 0.75mm2,300V, 8 triads,Individually&overall shielded,armoured, as per relevant drawings and specifications. | 1540 | m | 19.4312 | 29924.05
|  |  |  | 0 | 0
C | Modbus RTU Cables, internal to each heat tracing panel, in-between the heat tracing panels, and from the last heat tracing panel in the modbus RTU daisy chain to the DCS Cabinets. | 1 | Item | 4919.58 | 4919.58
|  |  |  | 0 | 0
D | Profibus DP Cables from the Burner Control Panel (16-25-715-LCB-01) to the new DCS Cabinets, from the Loss in Weight Feeders Control Panels (16-30-205-LCB-01, 16-30-210-LCB-01, 16-30-215-LCB-01) to the new DCS Cabinets, and from the bag filters 16-85-400/600 Control Panels (16-85-400-LCB-01, 16-85-400-LCB-11, 16-85-600-LCB-01) to the new DCS Cabinets, as per relevant drawings and specifications. | 945 | m | 12.2736 | 11598.55
|  |  |  | 0 | 0
E | Ethernet CAT6A Cables, from Compactor 16-27-027 Local HMI panel (16-27-027-HMI) to Compactor 16-27-016 Local HMI panel (16-27-016-HMI), as per relevant drawings and specifications. | 130 | m | 8.1518 | 1059.73
|  |  |  | 0 | 0
A | 24 Cores Fiber Optic Multi Mode Armoured Cables, from Compactor 16-27-016 Local HMI panel to the new IT DCS Cabinet, as per relevant drawings and specifications. | 145 | m | 8.6202 | 1249.93
|  |  |  | 0 | 0
B | All required fiber optic patch cord cables (multi-mode), as required and as per relevant drawings and specifications. | 1 | Item | 1965.6 | 1965.6
|  |  |  | 0 | 0
C | Field Routed I&C Cable Trays, to be used to route instrumentation cables from the instruments to the nearest I&C Cable Ladder, in order to reach the destination junction box, hot dip galvanized with powder coating, elevated cover and all necessary items as per relevant drawings and specifications. | 400 | m | 216.9364 | 86774.57
|  |  |  | 0 | 0
D | All bulk material including but not limited to rigid cable conduits, conduits and supports, cable connectors and terminators, required for the complete operation of the system as indicated in relevant Drawings & Documents | 1 | Item | 15000 | 15000
|  |  |  | 0 | 0
E | All cables, relays, contactors, connection boxes, panels, not covered in Contractor scope mentionned above, but required for the complete operation of the system as indicated in related Contract Drawings & Documents | 1 | Item | 15000 | 15000
|  |  |  | 0 | 0
A | All required steel supports, sun shades, cable glands, and necessary accessories for the junction boxes and panels supplied by the Equipment Vendor (shown on drawings), and for the junction boxes, panels, local control stations to be supplied by the Contractor (shown on drawings). | 1 | Item | 15000 | 15000
0
| Provisional sums for the below items |  |  |  | 0
B | Supply, installation and connection of all interconnecting cables, relays, contactors, connection boxes, panels, not supplied by the Packaged Equipment suppliers & not covered in Contractor scope mentionned above, but required for the complete operation of the system as indicated in Packaged Equipment suppliers Drawings & Documents. | 1 | Item |  | 15000
40 – PROCESS INTERCONNECTIONS
400500 - PIPING MATERIALS
Check Valve V-308
C | 6" dn | 2 | Nr | 1540 | 3080
|  |  |  | 0 | 0
|  |  |  | 0 | 0
| Check Valve V-307 |  |  | 0 | 0
|  |  |  | 0 | 0
D | 1" dn | 1 | Nr | 200 | 200
|  |  |  | 0 | 0
E | 1.5" dn | 2 | Nr | 400 | 800
|  |  |  | 0 | 0
| Check Valve V-301 |  |  | 0 | 0
|  |  |  | 0 | 0
A | 1" dn | 2 | Nr | 200 | 400
|  |  |  | 0 | 0
| Ball Valve V-501 |  |  | 0 | 0
|  |  |  | 0 | 0
B | 1" dn | 17 | Nr | 200 | 3400
|  |  |  | 0 | 0
C | 1.25" dn | 1 | Nr | 300 | 300
|  |  |  | 0 | 0
D | 1.5" dn | 3 | Nr | 300 | 900
|  |  |  | 0 | 0
E | 2" dn | 7 | Nr | 300 | 2100
|  |  |  | 0 | 0
| Ball Valve V-506 |  |  | 0 | 0
|  |  |  | 0 | 0
F | 1" dn | 34 | Nr | 200 | 6800
|  |  |  | 0 | 0
G | 1.5" dn | 27 | Nr | 300 | 8100
|  |  |  | 0 | 0
H | 2" dn | 4 | Nr | 300 | 1200
|  |  |  | 0 | 0
| Ball Valve V-507 |  |  | 0 | 0
|  |  |  | 0 | 0
J | 0.5" dn | 97 | Nr | 150 | 14550
|  |  |  | 0 | 0
K | 0.75" dn | 34 | Nr | 210 | 7140
|  |  |  | 0 | 0
L | 1.25" dn | 20 | Nr | 300 | 6000
|  |  |  | 0 | 0
M | 1.5" dn | 3 | Nr | 300 | 900
|  |  |  | 0 | 0
N | 2" dn | 2 | Nr | 300 | 600
|  |  |  | 0 | 0
| Gate Valve V-102 |  |  | 0 | 0
|  |  |  | 0 | 0
P | 2" dn | 8 | Nr | 360 | 2880
|  |  |  | 0 | 0
| Gate Valve V-109 |  |  | 0 | 0
|  |  |  | 0 | 0
A | 3" dn | 5 | Nr | 680 | 3400
|  |  |  | 0 | 0
B | 4" dn | 4 | Nr | 1040 | 4160
|  |  |  | 0 | 0
C | 6" dn | 10 | Nr | 1760 | 17600
|  |  |  | 0 | 0
| Suction Strainer |  |  | 0 | 0
|  |  |  | 0 | 0
D | 1" dn | 2 | Nr | 71 | 142
|  |  |  | 0 | 0
E | 1.5" dn | 2 | Nr | 97 | 194
|  |  |  | 0 | 0
F | 6" dn | 2 | Nr | 208 | 416
|  |  |  | 0 | 0
| Solinoid Valve |  |  | 0 | 0
|  |  |  | 0 | 0
G | 1" dn | 1 | Nr | 2489 | 2489
|  |  |  | 0 | 0
H | 1.25" dn | 1 | Nr | 2736 | 2736
|  |  |  | 0 | 0
| Flame Arrestor |  |  | 0 | 0
|  |  |  | 0 | 0
J | 2" dn | 2 | Nr | 1263 | 2526
|  |  |  | 0 | 0
| Pressure Reief Valve |  |  | 0 | 0
|  |  |  | 0 | 0
K | 1" dn | 2 | Nr | 1009 | 2018
|  |  |  | 0 | 0
| Automatic Air Valve |  |  | 0 | 0
|  |  |  | 0 | 0
L | 1" dn | 3 | Nr | 1009 | 3027
|  |  |  | 0 | 0
| Automatic Drain Valve |  |  | 0 | 0
|  |  |  | 0 | 0
M | 0.5" dn | 29 | Nr | 269 | 7801
|  |  |  | 0 | 0
| Compressed Air Female Socket |  |  | 0 | 0
0
N | 0.5"dn | 42 | Nr | 83 | 3486
|  |  |  | 0 | 0
| Expansion Joint-Below |  |  | 0 | 0
|  |  |  | 0 | 0
P | 6"dn | 4 | Nr | 375 | 1500
|  |  |  | 0 | 0
|  |  |  | 0 | 0
| PIPING WORK |  |  | 0 | 0
|  |  |  | 0 | 0
| Spec A |  |  | 0 | 0
|  |  |  | 0 | 0
A | 0.75" dn | 25 | m | 59.006 | 1475.15
|  |  |  | 0 | 0
B | 1" dn | 140 | m | 62.707 | 8778.98
|  |  |  | 0 | 0
C | 1.25" dn | 55 | m | 62.707 | 3448.89
|  |  |  | 0 | 0
D | 1.5" dn | 80 | m | 62.707 | 5016.56
|  |  |  | 0 | 0
E | 2" dn | 275 | m | 63.2877 | 17404.11
|  |  |  | 0 | 0
F | 3" dn | 20 | m | 64.3027 | 1286.05
|  |  |  | 0 | 0
G | 4" dn | 25 | m | 74.1722 | 1854.3
|  |  |  | 0 | 0
H | 6" dn | 1195 | m | 98.846 | 118120.95
|  |  |  | 0 | 0
J | 6" dn with Epoxy paint and Teflon Wrapping for underground routing | 90 | m | 172.8673 | 15558.06
|  |  |  | 0 | 0
| Spec E |  |  | 0 | 0
|  |  |  | 0 | 0
K | 1" dn | 275 | m | 38.6094 | 10617.57
|  |  |  | 0 | 0
L | 1.5" dn | 195 | m | 38.6094 | 7528.82
|  |  |  | 0 | 0
| Spec H |  |  | 0 | 0
|  |  |  | 0 | 0
M | 0.5" dn | 465 | m | 43.3639 | 20164.21
|  |  |  | 0 | 0
N | 0.75" dn | 310 | m | 46.4481 | 14398.91
|  |  |  | 0 | 0
P | 1" dn | 10 | m | 55.5198 | 555.2
|  |  |  | 0 | 0
Q | 1.25" dn | 250 | m | 55.5198 | 13879.95
|  |  |  | 0 | 0
R | 1.5" dn | 160 | m | 55.5198 | 8883.17
|  |  |  | 0 | 0
A | 2" dn | 140 | m | 68.9464 | 9652.49
|  |  |  | 0 | 0
B | 3" dn | 130 | m | 80.8308 | 10508
|  |  |  | 0 | 0
| 404213- PIPE INSULATION |  |  | 0 | 0
|  |  |  | 0 | 0
| Piping Insulatoin |  |  | 0 | 0
|  |  |  | 0 | 0
C | 25mm thick for 1"dn pipe | 140 | m | 45 | 6300
|  |  |  | 0 | 0
D | 25mm thick for 1.5"dn pipe | 175 | m | 46 | 8050
|  |  |  | 0 | 0
E | 25mm thick for 2"dn pipe | 115 | m | 48 | 5520
|  |  |  | 0 | 0
F | 38mm thick for 3"dn pipe | 20 | m | 66 | 1320
|  |  |  | 0 | 0
G | 38mm thick for 4"dn pipe | 25 | m | 72 | 1800
|  |  |  | 0 | 0
H | 38mm thick for 6"dn pipe | 1195 | m | 90 | 107550
|  |  |  | 0 | 0
| 404113 - ELECTRICAL HEAT TRACE |  |  | 0 | 0
|  |  |  | 0 | 0
| Piping Heat Trace |  |  | 0 | 0
|  |  |  | 0 | 0
J | Heat Trace for 1"dn pipe | 135 | m | 140.7615 | 19002.8
|  |  |  | 0 | 0
K | Heat Trace for 1.5"dn pipe | 175 | m | 140.7615 | 24633.26
|  |  |  | 0 | 0
|  |  |  | 0 | 0
| 403200 - CHUTES, DIVERTERS, BINS |  |  | 0 | 0
|  |  |  | 0 | 0
| Tanks |  |  | 0 | 0
|  |  |  | 0 | 0
A | Design and supply 30 Tons Mineral Oil Storage Tank 16-09-160 with all componants and accessories as per drawings and specs | 1 | Item | 50000 | 50000
|  |  |  | 0 | 0
B | Design and supply 10 m3 Diesel Storage Tank 16-09-150 with all componants and accessories as per drawings and specs | 1 | Item | 25000 | 25000
|  |  |  | 0 | 0
C | Design and supply 10 m3 Glazing Tank 16-09-1140 with all componants and accessories as per drawings and specs | 1 | Item | 25000 | 25000
|  |  |  | 0 | 0
| Stack |  |  | 0 | 0
|  |  |  | 0 | 0
D | Compaction Baghouses Stacks 16-19-100/200 as per drawings and specs | 2 | Nr | 40784 | 81568
|  |  |  | 0 | 0
| Diverter |  |  | 0 | 0
|  |  |  | 0 | 0
E | Diverter 14-75-800, capacity 200T/h as per relevant drawings and specs | 1 | Nr | 6857.9675 | 6857.97
|  |  |  | 0 | 0
| Bins |  |  | 0 | 0
|  |  |  | 0 | 0
F | 400 Tons Bin 16-15-130 including all components and accessories, man access, latches, openings, stiffeners handrails, as per process requirements and drawings | 1 | Item | 125000 | 125000
|  |  |  | 0 | 0
| Chutes |  |  | 0 | 0
|  |  |  | 0 | 0
A | Design and Supply of L500mm x W500mm, 40 m long house keeping Dump Chute including connections, cleanouts, and accessories as per specs, and actual Site Conditions | 2 | Item | 36070 | 72140
|  |  |  | 0 | 0
B | Design and Supply of Screening Building Dump Chute as per drawings, specs, and existing Site Conditions | 1 | Item | 21424 | 21424
|  |  |  | 0 | 0
C | Chute CH-1 with all necessary flanges, access doors, supports and components as per drawings and specs.With Outlet Compensator | 1 | Item | 10430 | 10430
|  |  |  | 0 | 0
D | Chute CH-2 with all necessary flanges, access doors, supports and components as per drawings and specs.With Outlet Compensator | 1 | Item | 7751 | 7751
|  |  |  | 0 | 0
E | Chute CH-3 with all necessary flanges, access doors, supports and components as per drawings and specs.With Outlet Compensator | 1 | Item | 8251 | 8251
|  |  |  | 0 | 0
F | Chute CH-4 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 19783 | 19783
|  |  |  | 0 | 0
G | Chute CH-5 with all necessary flanges, access doors, supports and components as per drawings and specs.With Outlet Compensator | 1 | Item | 7634 | 7634
|  |  |  | 0 | 0
H | Compensator CH-6 with all necessary flanges, supports and components as per drawings and specs. | 1 | Item | 10148 | 10148
|  |  |  | 0 | 0
A | Chute CH-8 with all necessary flanges, access doors, supports and components as per drawings and specs.With Inlet Compensator | 1 | Item | 10369 | 10369
|  |  |  | 0 | 0
B | Chute CH-10 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 9841 | 9841
|  |  |  | 0 | 0
C | Chute CH-16 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 33289 | 33289
|  |  |  | 0 | 0
D | Chute CH-18 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 6513 | 6513
|  |  |  | 0 | 0
E | Chute CH-19 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 39385 | 39385
|  |  |  | 0 | 0
F | Chute CH-20 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 17623 | 17623
|  |  |  | 0 | 0
G | Chute CH-22 with all necessary flanges, access doors, supports and components as per drawings and specs.With Inlet Compensator | 1 | Item | 2874 | 2874
|  |  |  | 0 | 0
H | Chute CH-26 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 8103 | 8103
|  |  |  | 0 | 0
J | Compensator CH-28 with all necessary flanges, supports and components as per drawings and specs. | 1 | Item | 2083 | 2083
|  |  |  | 0 | 0
K | Chute CH-30 with all necessary flanges, access doors, supports and components as per drawings and specs.With Outlet Compensator | 1 | Item | 3444 | 3444
|  |  |  | 0 | 0
A | Chute CH-34 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 7840 | 7840
|  |  |  | 0 | 0
B | Chute CH-36 with all necessary flanges, access doors, supports and components as per drawings and specs.With Inlet Compensator | 1 | Item | 5678 | 5678
|  |  |  | 0 | 0
C | Chute CH-40 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 10422 | 10422
|  |  |  | 0 | 0
D | Chute CH-42 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 5399 | 5399
|  |  |  | 0 | 0
E | Chute CH-44 with all necessary flanges, access doors, supports and components as per drawings and specs.With Outlet Compensator | 1 | Item | 4974 | 4974
|  |  |  | 0 | 0
F | Chute CH-46 with all necessary flanges, access doors, supports and components as per drawings and specs.With Outlet Compensator | 1 | Item | 37125 | 37125
|  |  |  | 0 | 0
G | Compensator CH-48 with all necessary flanges, supports and components as per drawings and specs. | 1 | Item | 4049 | 4049
|  |  |  | 0 | 0
H | Chute CH-50 with all necessary flanges, access doors, supports and components as per drawings and specs.With Outlet Compensator Compensator | 1 | Item | 4049 | 4049
|  |  |  | 0 | 0
J | Chute CH-54 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 8063 | 8063
|  |  |  | 0 | 0
A | Chute CH-102/202 with all necessary flanges, access doors, supports and components as per drawings and specs.With Inlet and Outlet Compensator | 2 | Item | 30502 | 61004
|  |  |  | 0 | 0
B | Chute CH-104/204 with all necessary flanges, access doors, supports and components as per drawings and specs.With Inlet and Outlet Compensator | 2 | Item | 4740 | 9480
|  |  |  | 0 | 0
C | Chute CH-106/206 with all necessary flanges, access doors, supports and components as per drawings and specs.With Inlet Compensator | 2 | Item | 3933 | 7866
|  |  |  | 0 | 0
D | Chute CH-108/208 with all necessary flanges, access doors, supports and components as per drawings and specs.With Outlet Compensator | 2 | Item | 2679 | 5358
|  |  |  | 0 | 0
E | Chute CH-110/210 with all necessary flanges, access doors, supports and components as per drawings and specs. | 2 | Item | 8783 | 17566
|  |  |  | 0 | 0
F | Chute CH-112/212 with all necessary flanges, access doors, supports and components as per drawings and specs.With Inlet Compensator | 2 | Item | 4353 | 8706
|  |  |  | 0 | 0
G | Chute CH-114/214 with all necessary flanges, access doors, supports and components as per drawings and specs. | 2 | Item | 4353 | 8706
|  |  |  | 0 | 0
H | Chute CH-116/216 with all necessary flanges, access doors, supports and components as per drawings and specs. | 2 | Item | 16043 | 32086
|  |  |  | 0 | 0
A | Chute CH-118/218 with all necessary flanges, access doors, supports and components as per drawings and specs.With Inlet and Outlet Compensator | 2 | Item | 13173 | 26346
|  |  |  | 0 | 0
B | Chute CH-120/220 with all necessary flanges, access doors, supports and components as per drawings and specs. | 2 | Item | 2668 | 5336
|  |  |  | 0 | 0
C | Chute CH-122/222 with all necessary flanges, access doors, supports and components as per drawings and specs. | 2 | Item | 2668 | 5336
|  |  |  | 0 | 0
D | Chute CH-124/224 with all necessary flanges, access doors, supports and components as per drawings and specs. | 2 | Item | 10502 | 21004
|  |  |  | 0 | 0
E | Chute CH-126/226 with all necessary flanges, access doors, supports and components as per drawings and specs. | 2 | Item | 10502 | 21004
|  |  |  | 0 | 0
F | Chute CH-128/130/228/230 with all necessary flanges, access doors, supports and components as per drawings and specs. | 4 | Item | 2505 | 10020
|  |  |  | 0 | 0
G | Chute CH-132/232 with all necessary flanges, access doors, supports and components as per drawings and specs.With Inlet and Outlet Compensator | 2 | Item | 16656 | 33312
|  |  |  | 0 | 0
H | Chute CH-134/234 with all necessary flanges, access doors, supports and components as per drawings and specs. | 2 | Item | 2784 | 5568
|  |  |  | 0 | 0
J | Chute CH-136/236 with all necessary flanges, access doors, supports and components as per drawings and specs. | 2 | Item | 2644 | 5288
|  |  |  | 0 | 0
A | Chute CH-138/238 with all necessary flanges, access doors, supports and components as per drawings and specs. | 2 | Item | 8693 | 17386
|  |  |  | 0 | 0
B | Chute CH-140/240 with all necessary flanges, access doors, supports and components as per drawings and specs. | 2 | Item | 8693 | 17386
|  |  |  | 0 | 0
C | 50mm Insulated Chute CH-56 with all necessary flanges, access doors, supports and components as per drawings and specs.With Outlet Compensator | 1 | Item | 28258 | 28258
|  |  |  | 0 | 0
D | 50mm Insulated Chute PL-402 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 5941 | 5941
|  |  |  | 0 | 0
E | 50mm Insulated Chute PL-404 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 5941 | 5941
|  |  |  | 0 | 0
F | 50mm Insulated Chute PL-406 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 5941 | 5941
|  |  |  | 0 | 0
G | 50mm Insulated Chute PL-408 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 25704 | 25704
|  |  |  | 0 | 0
H | 50mm Insulated Chute PL-410 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 11255 | 11255
|  |  |  | 0 | 0
A | 50mm Insulated Chute PL-412 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 12648 | 12648
|  |  |  | 0 | 0
B | 50mm Insulated Chute PL-502 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 31518 | 31518
|  |  |  | 0 | 0
C | 50mm Insulated Chute PL-506 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 76580 | 76580
|  |  |  | 0 | 0
D | 50mm Insulated Chute PL-508 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 42000 | 42000
|  |  |  | 0 | 0
E | 50mm Insulated Chute PL-510 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 42000 | 42000
|  |  |  | 0 | 0
F | 50mm Insulated Chute PL-512 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 96535 | 96535
|  |  |  | 0 | 0
G | 50mm Insulated Chute PL-514 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 4200 | 4200
|  |  |  | 0 | 0
H | 50mm Insulated Chute PL-518 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 7085 | 7085
|  |  |  | 0 | 0
A | 50mm Insulated Chute PL-520 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 39156 | 39156
|  |  |  | 0 | 0
B | 50mm Insulated Chute PL-522 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 51435 | 51435
|  |  |  | 0 | 0
C | 50mm Insulated Chute PL-524 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 3821 | 3821
|  |  |  | 0 | 0
D | 50mm Insulated Chute PL-526 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 14880 | 14880
|  |  |  | 0 | 0
E | 50mm Insulated Chute PL-528 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 17892 | 17892
|  |  |  | 0 | 0
F | Compensator CH-58 with all necessary flanges, supports and components as per drawings and specs. | 1 | Item | 1945 | 1945
|  |  |  | 0 | 0
G | Chute CH-60 with all necessary flanges, access doors, supports and components as per drawings and specs.With Inlet Compensator | 1 | Item | 2199 | 2199
|  |  |  | 0 | 0
H | Chute CH-62 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 2569 | 2569
|  |  |  | 0 | 0
A | Chute CH-64 with all necessary flanges, access doors, supports and components as per drawings and specs.With Inlet and Outlet Compensator | 1 | Item | 3984 | 3984
|  |  |  | 0 | 0
B | Chute CH-68 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 4398 | 4398
|  |  |  | 0 | 0
C | Chute CH-69 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 9390 | 9390
|  |  |  | 0 | 0
D | Chute CH-70 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 13266 | 13266
|  |  |  | 0 | 0
E | Chute CH-72 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 7330 | 7330
|  |  |  | 0 | 0
F | Chute CH-76 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 13005 | 13005
|  |  |  | 0 | 0
G | Chute CH-78 with all necessary flanges, access doors, supports and components as per drawings and specs.With Inlet and Outlet Compensator | 1 | Item | 8899 | 8899
|  |  |  | 0 | 0
H | Chute CH-80 with all necessary flanges, access doors, supports and components as per drawings and specs.With Inlet Compensator | 1 | Item | 4166 | 4166
|  |  |  | 0 | 0
J | Chute CH-82 with all necessary flanges, access doors, supports and components as per drawings and specs.With Outlet Compensator | 1 | Item | 4166 | 4166
|  |  |  | 0 | 0
A | Chute CH-86 with all necessary flanges, access doors, supports and components as per drawings and specs.With Outlet Compensator | 1 | Item | 11487 | 11487
|  |  |  | 0 | 0
B | Chute CH-87 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 11023 | 11023
|  |  |  | 0 | 0
C | 50mm Insulated Chute CH-88 with all necessary flanges, access doors, supports and components as per drawings and specs.With Outlet Compensator | 1 | Item | 60150 | 60150
|  |  |  | 0 | 0
D | Chute CH-302 with all necessary flanges, access doors, supports and components as per drawings and specs.With Outlet Compensator | 1 | Item | 14267 | 14267
|  |  |  | 0 | 0
E | Chute CH-304 with all necessary flanges, access doors, supports and components as per drawings and specs.With Outlet Compensator | 1 | Item | 14267 | 14267
|  |  |  | 0 | 0
F | Chute CH-306 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 9165 | 9165
|  |  |  | 0 | 0
G | Chute CH-402 with all necessary flanges, access doors, supports and components as per drawings and specs.With Inlet Compensator | 1 | Item | deleted
0
H | Chute CH-404 with all necessary flanges, access doors, supports and components as per drawings and specs.With Inlet Compensator | 1 | Item | deleted
0
J | Chute CH-406 with all necessary flanges, access doors, supports and components as per drawings and specs.With Inlet Compensator | 1 | Item | deleted
0
A | Chute CH-408 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | deleted
0
B | Chute CH-410 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | deleted
0
C | Chute CH-412 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | deleted
0
D | Chute CH-502 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | deleted
0
E | Chute CH-506 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | deleted
0
F | Chute CH-508 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | deleted
0
G | Chute CH-510 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | deleted
0
H | Chute CH-512 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | deleted
0
J | Chute CH-514 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | deleted
0
K | Chute CH-518 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | deleted
0
A | Chute CH-520 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | deleted
0
B | Chute CH-522 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | deleted
0
C | Chute CH-524 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | deleted
0
D | Chute CH-526 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | deleted
0
E | Chute CH-528 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | deleted
|  |  |  | 0 | 0
F | Chute CH-310 with all necessary flanges, access doors, supports and components as per drawings and specs. | 1 | Item | 9861 | 9861
0
| 404113 - ELECTRIC HEAT TRACE CABLE |  |  |  | 0
0
| De-Dusting Electrical heat trace system |  |  |  | 0
0
G | Electrical heat trace system for De-dusting ducts including all accessories , components , control devies, feedback devices as per specs and drawings | 1 | Item | 98412.6984 | 98412.7
0
| 404213 - PIPE INSULATION |  |  |  | 0
0
| De-Dusting Ducts Insulation |  |  |  | 0
0
H | Insulation for De-dusting ducts including all accessories, Jacketing and components | 1 | Item | 123500 | 123500
0
| 400529 - HANGERS AND SUPPORTS FOR PROCESS PIPING |  |  |  | 0
0
| De-Dusting Ducts Steel Supports |  |  |  | 0
0
A | De-dusting Hanger Rod supports with clamps and all related accessories as per specifications and drawings | 16 | Ton | 4000 | 64000
|  |  |  | 0 | 0
| 41 - MATERIAL PROCESSING AND HANDLING EQUIPMENT |  |  | 0 | 0
|  |  |  | 0 | 0
| 410000 - MECHANICAL & PIPING CONSTRUCTION SPECIFICATION |  |  | 0 | 0
|  |  |  | 0 | 0
B | Insulation and Cladding for Diverter Gate 16-75-0750 as specified and as per manufacturer drawings including all components, accessories, and parts. | 1 | Item | 2685 | 2685
|  |  |  | 0 | 0
C | Insulation and Cladding for Bin 16-15-100 as specified and as per manufacturer drawings including all components, accessories, and parts. | 1 | Item | 30480 | 30480
|  |  |  | 0 | 0
D | Insulation and Cladding for Bag House Filter 16-85-600 as specified and as per manufacturer drawings including all components, accessories, and parts. | 1 | Item | 82009 | 82009
|  |  |  | 0 | 0
E | Insulation and Cladding for Diverter Gate 16-75-0755 as specified and as per manufacturer drawings including all components, accessories, and parts. | 1 | Item | 2685 | 2685
|  |  |  | 0 | 0
F | Insulation and Cladding for Bin 16-15-110 as specified and as per manufacturer drawings including all components, accessories, and parts. | 1 | Item | 42817 | 42817
|  |  |  | 0 | 0
A | Insulation and Cladding for Bin 16-15-120 as specified and as per manufacturer drawings including all components, accessories, and parts. | 1 | Item | 42817 | 42817
|  |  |  | 0 | 0
B | Insulation and Cladding for Tank 16-09-110 as specified and as per manufacturer drawings including all components, accessories, and parts. | 1 | Item | 25400 | 25400
|  |  |  | 0 | 0
C | Insulation and Cladding for Sound Absorber 16-80-7105 as specified and as per manufacturer drawings including all components, accessories, and parts. | 1 | Item | 8274 | 8274
|  |  |  | 0 | 0
D | Insulation and Cladding for Dryer/Cooler 16-25-400 as specified and as per manufacturer drawings including all components, accessories, and parts. | 1 | Item | 21429 | 21429
|  |  |  | 0 | 0
E | Insulation and Cladding for Hot Gas Generator 16-25-715 as specified and as per manufacturer drawings including all components, accessories, and parts. | 1 | Item | 8200 | 8200
|  |  |  | 0 | 0
F | Insulation and Cladding for Inlet Filter 16-85-405 as specified and as per manufacturer drawings including all components, accessories, and parts. | 1 | Item | 5960 | 5960
|  |  |  | 0 | 0
A | Insulation and Cladding for Sound Absorber 16-80-7305 as specified and as per manufacturer drawings including all components, accessories, and parts. | 1 | Item | 2830 | 2830
|  |  |  | 0 | 0
B | Insulation and Cladding for Sound Absorber 16-80-7405 as specified and as per manufacturer drawings including all components, accessories, and parts. | 1 | Item | 3048 | 3048
|  |  |  | 0 | 0
C | Insulation and Cladding for Tank 16-09-120 as specified and as per manufacturer drawings including all components, accessories, and parts. | 1 | Item | 5500 | 5500
|  |  |  | 0 | 0
D | Insulation and Cladding for Tank 16-09-130 as specified and as per manufacturer drawings including all components, accessories, and parts. | 1 | Item | 5500 | 5500
|  |  |  | 0 | 0
| 412123 -INDUSTRIAL MAN LIFT |  |  | 0 | 0
|  |  |  | 0 | 0
E | 30 Pax Industrial Man Lift 16-40-100 | 1 | Item | 464582 | 464582
|  |  |  | 0 | 0
| 412200 - OVERHEAD CRANE |  |  | 0 | 0
|  |  |  | 0 | 0
| Cranes |  |  | 0 | 0
|  |  |  | 0 | 0
F | 5 Ton Monorail Crane 16-08-010 | 1 | Nr | 22000 | 22000
|  |  |  | 0 | 0
G | 5 Ton Monorail Crane 16-08-020 | 1 | Nr | 21500 | 21500
|  |  |  | 0 | 0
H | 5 Ton Monorail Crane 16-08-030 | 1 | Nr | 22000 | 22000
|  |  |  | 0 | 0
J | 5 Ton Monorail Crane 16-08-040 | 1 | Nr | 22000 | 22000
|  |  |  | 0 | 0
K | 5 Ton Monorail Crane 16-08-050 | 1 | Nr | 22000 | 22000
|  |  |  | 0 | 0
L | 5 Ton Monorail Crane 16-08-060 | 1 | Nr | 22000 | 22000
|  |  |  | 0 | 0
M | 5 Ton Monorail Crane 16-08-070 | 1 | Nr | 30500 | 30500
|  |  |  | 0 | 0
A | 5 Ton Monorail Crane 16-08-080 | 1 | Nr | 20500 | 20500
|  |  |  | 0 | 0
B | 5 Ton Monorail Crane 16-08-090 | 1 | Nr | 20500 | 20500
|  |  |  | 0 | 0
C | 5 Ton Monorail Crane 16-08-100 | 1 | Nr | 20500 | 20500
|  |  |  | 0 | 0
D | 5 Ton Monorail Crane 16-08-110 | 1 | Nr | 21500 | 21500
|  |  |  | 0 | 0
E | 5 Ton Monorail Crane 16-08-120 | 1 | Nr | 21500 | 21500
|  |  |  | 0 | 0
F | 10 Ton Monorail Crane 16-08-130 | 1 | Nr | 27400 | 27400
|  |  |  | 0 | 0
G | 10 Ton Monorail Crane 16-08-140 | 1 | Nr | 27400 | 27400
|  |  |  | 0 | 0
H | 5 Ton Monorail Crane 16-08-150 | 1 | Nr | 22800 | 22800
|  |  |  | 0 | 0
J | 2 Ton Movable Jib Crane 16-08-160 | 1 | Nr | 4000 | 4000
|  |  |  | 0 | 0
K | 30 Ton Double Girder Overhead Crane 16-08-160 | 1 | Nr | 210511 | 210511
0
| 410000 - MECHANICAL & PIPING CONSTRUCTION SPECIFICATION |  |  |  | 0
0
| Miscellaneous |  |  |  | 0
0
L | Airconditioned, fire and thermally insulated and prefabricated sandwich structure BMS Room for Burner including, lighting, viewing glass and housing all necessary electronic equipment | 1 | Item | 9000 | 9000
|  |  |  | 0 | 0
M | Supply and Install as per Vendor Detailed Drawings of Bag House 16-85-400 Intake manifold with all necessary components as per drawings, vendor's documentation and requirements. | 1 | Item | 35000 | 35000
|  |  |  | 0 | 0
A | Design, Supply and Installion of Bag House 16-85-400 Intake manifold steel support with all necessary components as per drawings, vendor's documentation and requirements. | 1 | Item | 6800 | 6800
|  |  |  | 0 | 0
B | Supply and Installion of as per Vendor Detailed Drawings of Bag House 16-85-400 Steel Support with all necessary components as per drawings, vendor's documentation and requirements. | 1 | Item | 25500 | 25500
|  |  |  | 0 | 0
C | Supply and Installion of as per Vendor Detailed Drawings of Bag House 16-85-600 Steel Support with all necessary components as per drawings, vendor's documentation and requirements. | 1 | Item | 18700 | 18700
|  |  |  | 0 | 0
D | Design, Supply and Installion of Grizzly 16-28-010 Steel Support with all necessary components as per drawings, vendor's documentation and requirements. | 1 | Item | 1175 | 1175
|  |  |  | 0 | 0
E | Design, Supply and Installion of Grizzly 16-28-060 Steel Support with all necessary components as per drawings, vendor's documentation and requirements. | 1 | Item | 1175 | 1175
|  |  |  | 0 | 0
F | Design, Supply and Installion of Grizzly 16-28-070 Steel Support with all necessary components as per drawings, vendor's documentation and requirements. | 1 | Item | 1175 | 1175
|  |  |  | 0 | 0
G | Design, Supply and Installion of Magnetic Seperator 16-40-222 Steel Support with all necessary components as per drawings, vendor's documentation and requirements. | 1 | Item | 952 | 952
|  |  |  | 0 | 0
|  |  |  | 0 | 0
A | Design, Supply and Installion of Magnetic Seperator 16-40-333 Steel Support with all necessary components as per drawings, vendor's documentation and requirements. | 1 | Item | 952 | 952
|  |  |  | 0 | 0
B | Design, Supply and Installion of Magnetic Seperator 16-40-444 Steel Support with all necessary components as per drawings, vendor's documentation and requirements. | 1 | Item | 1000 | 1000
|  |  |  | 0 | 0
C | Design, Supply and Installion of Flow Meter 16-65-4100 Steel Support with all necessary components as per drawings, vendor's documentation and requirements. | 1 | Item | 1000 | 1000
|  |  |  | 0 | 0
D | Design, Supply and Installion of Flow Meter 16-65-4200 Steel Support with all necessary components as per drawings, vendor's documentation and requirements. | 1 | Item | 1000 | 1000
|  |  |  | 0 | 0
E | Design, Supply and Installion of Flow Meter 16-65-4300 Steel Support with all necessary components as per drawings, vendor's documentation and requirements. | 1 | Item | 1000 | 1000
|  |  |  | 0 | 0
F | Design, Supply and Installion of Diverter 16-75-0750 Steel Support with all necessary components as per drawings, vendor's documentation and requirements. | 1 | Item | 1000 | 1000
|  |  |  | 0 | 0
G | Design, Supply and Installion of Diverter 16-75-0755 Steel Support with all necessary components as per drawings, vendor's documentation and requirements. | 1 | Item | 1000 | 1000
|  |  |  | 0 | 0
A | Design, Supply and Installion of Silencer 16-80-7205 Steel Support with all necessary components as per drawings, vendor's documentation and requirements. | 1 | Item | 1564 | 1564
|  |  |  | 0 | 0
| 410000 - MECHANICAL & PIPING CONSTRUCTION SPECIFICATION 403200 - CHUTES, DIVERTERS, BINS… |  |  | 0 | 0
|  |  |  | 0 | 0
B | De-dusting Ducting (including but not limited to steel ducts, chutes, Y-branches, reducers, ductwork etc.) as per De-dusting drawings, Flow Sheets and Schedules | 1 | Item | 314946 | 314946
|  |  |  | 0 | 0
| Ducting |  |  | 0 | 0
|  |  |  | 0 | 0
C | De-Dusting Hoods as per De-dusting drawings, Flow Sheets and Schedules | 1 | Item | 15385 | 15385
|  |  |  | 0 | 0
| Blast Gates |  |  | 0 | 0
|  |  |  | 0 | 0
D | De-dusting Blast Gates as per specifications and De-dusting drawings, Flow Sheets and Schedules | 1 | Item | 84000 | 84000
|  |  |  | 0 | 0
| 42 - PROCESS HEATING, COOLING, AND DRYING EQUIPMENT |  |  | 0 | 0
| 421213 - ELECTRIC IMMERSION HEATERS |  |  | 0 | 0
|  |  |  | 0 | 0
| Heaters |  |  | 0 | 0
|  |  |  | 0 | 0
E | 30 kW Immersion Heater 16-12-010/020 for Miniral Oil Tank | 2 | Nr | 19487 | 38974
|  |  |  | 0 | 0
| 421319 - HEAT EXCHANGERS |  |  | 0 | 0
|  |  |  | 0 | 0
F | Plate Heat Exchanger 16-11-100 | 1 | Nr | 10000 | 10000
|  |  |  | 0 | 0
| 43 - PROCESS GAS AND LIQUID HANDLING |  |  | 0 | 0
|  |  |  | 0 | 0
| 432216 - AGITATORS |  |  | 0 | 0
|  |  |  | 0 | 0
| Agitator |  |  | 0 | 0
|  |  |  | 0 | 0
A | Mixing Agitator 16-05-145 complete with mounting structure and access as per drawings and specs | 1 | Nr | 22980 | 22980
|  |  |  | 0 | 0
| 432113.10 - UTILITY PUMPS |  |  | 0 | 0
|  |  |  | 0 | 0
| Pumps |  |  | 0 | 0
|  |  |  | 0 | 0
B | Rotary Lobe Pump 16-01-217/218 | 2 | Nr | 12571 | 25142
|  |  |  | 0 | 0
C | Rotary Lobe Pump 16-01-227/228 | 2 | Nr | 12571 | 25142
|  |  |  | 0 | 0
D | End Suction Centrifugal Pump 16-01-219/220 | 2 | Nr | 22000 | 44000
|  |  |  | 0 | 0
E | End Suction Centrifugal Pump 16-01-221 | 1 | Nr | 4714 | 4714
|  |  |  | 0 | 0
F | End Suction Centrifugal Pump 16-01-230/231 | 2 | Nr | 29879 | 59758
|  |  |  | 0 | 0
G | Booster Pump Set unit 16-01-232/233 | 1 | Set | 13560 | 13560
|  |  |  | 0 | 0
| Pumps Optional |  |  | 0 | 0
|  |  |  | 0 | 0
H | Booster Pump Set unit 16-01-234/235 | 1 | Set | 4427 | 4427
|  |  |  | 0 | 0
J | Booster Pump Set unit 16-01-236/237 | 1 | Set | 4427 | 4427
|  |  |  | 0 | 0
K | Expansion Tank 16-09-200 | 1 | Nr | 14843 | 14843
|  |  |  | 0 | 0
| Take Delivery & Install |  |  | 0 | 0
|  |  |  | 0 | 0
| 41 - MATERIAL PROCESSING AND HANDLING EQUIPMENT |  |  | 0 | 0
| 410000 - MECHANICAL & PIPING CONSTRUCTION SPECIFICATION |  |  | 0 | 0
|  |  |  | 0 | 0
| Pumps |  |  | 0 | 0
|  |  |  | 0 | 0
A | Installation of Pumps 16-01-216/226 including grease piping and barrels with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 4335 | 4335
|  |  |  | 0 | 0
B | Installation of Pumps 16-01-213/214 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 1089 | 1089
|  |  |  | 0 | 0
C | Installation of Pumps 16-01-223/224 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 1089 | 1089
|  |  |  | 0 | 0
| Fan |  |  | 0 | 0
|  |  |  | 0 | 0
A | Installation of Fan 16-03-740 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 6895 | 6895
|  |  |  | 0 | 0
B | Installation of Fan 16-03-710 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 5516 | 5516
|  |  |  | 0 | 0
C | Installation of Fan 16-03-720 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 2482 | 2482
|  |  |  | 0 | 0
D | Installation of Fan 16-03-310 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 690 | 690
|  |  |  | 0 | 0
E | Installation of Fan 16-03-730 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings. | 1 | Item | 4275 | 4275
|  |  |  | 0 | 0
| Agitator |  |  | 0 | 0
|  |  |  | 0 | 0
A | Installation of Agitator 16-05-125 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 3629 | 3629
|  |  |  | 0 | 0
B | Installation of Agitator 16-05-135 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 7258 | 7258
|  |  |  | 0 | 0
| Tank |  |  | 0 | 0
|  |  |  | 0 | 0
C | Installation of Tank 16-09-110 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 10000 | 10000
|  |  |  | 0 | 0
D | Installation of Tank 16-09-120 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 10000 | 10000
|  |  |  | 0 | 0
A | Installation of Tank 16-09-130 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 10000 | 10000
|  |  |  | 0 | 0
| Bin |  |  | 0 | 0
|  |  |  | 0 | 0
B | Installation of Bin 16-15-100 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 25000 | 25000
|  |  |  | 0 | 0
C | Installation of Bin 16-15-110 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 25000 | 25000
|  |  |  | 0 | 0
D | Installation of Bin 16-15-120 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 25000 | 25000
|  |  |  | 0 | 0
| Drag Conveyor |  |  | 0 | 0
|  |  |  | 0 | 0
A | Installation of Drag Conveyor 16-20-100 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 49645 | 49645
|  |  |  | 0 | 0
B | Installation of Drag Conveyor 16-20-070 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 34839 | 34839
|  |  |  | 0 | 0
C | Installation of Drag Conveyors 16-20-080/090 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 41807 | 41807
|  |  |  | 0 | 0
| Dryer/Cooler |  |  | 0 | 0
|  |  |  | 0 | 0
A | Installation of Dryer/Cooler 16-25-400 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 39194 | 39194
|  |  |  | 0 | 0
B | Installation of Hot Gas Generator 16-25-715 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 17600 | 17600
|  |  |  | 0 | 0
| Crusher |  |  | 0 | 0
|  |  |  | 0 | 0
C | Installation of Crusher 16-26-010 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 14100 | 14100
|  |  |  | 0 | 0
D | Installation of Crushers 16-26-017/027 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 28500 | 28500
|  |  |  | 0 | 0
A | Installation of Crushers 16-26-031/032 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 45000 | 45000
|  |  |  | 0 | 0
B | Installation of Crushers 16-26-033/034/035/036 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 102000 | 102000
|  |  |  | 0 | 0
| Roller Presses (Compactors) |  |  | 0 | 0
|  |  |  | 0 | 0
C | Installation of Roller Press (Compactor) 16-27-016/027 with all necessary components as per design drawings, vendor's documentation and requirements.Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 571429 | 571429
|  |  |  | 0 | 0
| Screen |  |  | 0 | 0
|  |  |  | 0 | 0
D | Installation of Static Screen 16-28-010 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 690 | 690
|  |  |  | 0 | 0
A | Installation of Screen 16-28-020 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 11976 | 11976
|  |  |  | 0 | 0
B | Installation of Screens 16-28-031/032 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 26202 | 26202
|  |  |  | 0 | 0
C | Installation of Screens 16-28-041/042/043/044 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 39303 | 39303
|  |  |  | 0 | 0
D | Installation of Static Screen 16-28-060 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 483 | 483
|  |  |  | 0 | 0
A | Installation of Screen 16-28-050 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 7723 | 7723
|  |  |  | 0 | 0
B | Installation of Static Screen 16-28-070 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 483 | 483
|  |  |  | 0 | 0
| Belt Conveyor |  |  | 0 | 0
|  |  |  | 0 | 0
C | Installation of Belt Conveyor 14-29-120 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 6895 | 6895
|  |  |  | 0 | 0
D | Installation of Belt Conveyor 14-29-200 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 16548 | 16548
|  |  |  | 0 | 0
A | Installation of Belt Conveyor 16-29-140 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 11308 | 11308
|  |  |  | 0 | 0
B | Installation of Weigh Feeder 16-29-160 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 2323 | 2323
|  |  |  | 0 | 0
C | Installation of Weigh Feeder 16-29-180 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 2903 | 2903
|  |  |  | 0 | 0
D | Installation of Belt Conveyor 16-29-200 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 27871 | 27871
|  |  |  | 0 | 0
| Feeder/Mixer |  |  | 0 | 0
|  |  |  | 0 | 0
A | Installation of Screw Feeder 14-30-200 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 2613 | 2613
|  |  |  | 0 | 0
B | Installation of Screw Feeder 16-30-220 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 5226 | 5226
|  |  |  | 0 | 0
C | Installation of Loss-In-Weight Feeder (Bigbag-Station) 16-30-205/210 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 7258 | 7258
|  |  |  | 0 | 0
D | Installation of Screw Feeder 16-30-260 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 4006 | 4006
|  |  |  | 0 | 0
A | Installation of Vibration Feeders 16-30-161/171/162/172 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 20903.3481 | 20903.35
|  |  |  | 0 | 0
B | Installation of Screw Feeder 16-30-240 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 1741.9457 | 1741.95
|  |  |  | 0 | 0
C | Installation of Mixer 16-30-222 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 14806.5382 | 14806.54
|  |  |  | 0 | 0
D | Installation of Screw Feeder 16-30-280 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 2612.9185 | 2612.92
|  |  |  | 0 | 0
A | Installation of Screw Feeder 16-30-290 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 1219.362 | 1219.36
|  |  |  | 0 | 0
B | Installation of Mixer 16-30-255 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 14806.5382 | 14806.54
|  |  |  | 0 | 0
C | Installation of Loss-In-Weight Feeder (Bigbag-Station) 16-30-215 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 3629.0535 | 3629.05
|  |  |  | 0 | 0
| Bucket Elevator |  |  | 0 | 0
|  |  |  | 0 | 0
A | Installation of Bucket Elevator 14-31-070 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 20032.3752 | 20032.38
|  |  |  | 0 | 0
B | Installation of Bucket Elevator 16-31-080 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 13935.5654 | 13935.57
|  |  |  | 0 | 0
C | Installation of Bucket Elevator 16-31-090 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 73161.7183 | 73161.72
|  |  |  | 0 | 0
D | Installation of Bucket Elevators 16-31-100/110 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 159562.2236 | 159562.22
|  |  |  | 0 | 0
A | Installation of Bucket Elevator 16-31-120 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 23167.8775 | 23167.88
|  |  |  | 0 | 0
B | Installation of Bucket Elevator 16-31-130 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 54000.3159 | 54000.32
|  |  |  | 0 | 0
| Magnetic Separator |  |  | 0 | 0
|  |  |  | 0 | 0
C | Installation of Magnetic Separator 16-40-111 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 844.8437 | 844.84
|  |  |  | 0 | 0
D | Installation of Magnetic Separator 16-40-222 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 844.8437 | 844.84
|  |  |  | 0 | 0
A | Installation of Magnetic Separators 16-40-333/444 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 844.8437 | 844.84
|  |  |  | 0 | 0
| Rotary Valve |  |  | 0 | 0
|  |  |  | 0 | 0
B | Installation of Rotary Valve 16-54-600 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 725.8107 | 725.81
|  |  |  | 0 | 0
C | Installation of Rotary Valve 16-54-700 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 725.8107 | 725.81
|  |  |  | 0 | 0
D | Installation of Rotary Valve 16-54-701 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 725.8107 | 725.81
|  |  |  | 0 | 0
| Slide Gate |  |  | 0 | 0
|  |  |  | 0 | 0
A | Installation of Slide Gate 14-60-4055 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 798.3918 | 798.39
|  |  |  | 0 | 0
B | Installation of Slide Gate 14-60-2005 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 798.3918 | 798.39
|  |  |  | 0 | 0
C | Installation of Slide Gate 16-60-2205 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 798.3918 | 798.39
|  |  |  | 0 | 0
D | Installation of Slide Gate 16-60-1005 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 798.3918 | 798.39
|  |  |  | 0 | 0
A | Installation of Slide Gate 16-60-1605 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 798.3918 | 798.39
|  |  |  | 0 | 0
B | Installation of Slide Gates 16-60-1655/2655 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 798.3918 | 798.39
|  |  |  | 0 | 0
C | Installation of Slide Gates 16-60-1755/2755 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 798.3918 | 798.39
|  |  |  | 0 | 0
D | Installation of Louver Damper 16-60-0745 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 798.3918 | 798.39
|  |  |  | 0 | 0
A | Installation of Slide Gate 16-60-1705 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 798.3918 | 798.39
|  |  |  | 0 | 0
B | Installation of Slide Gate 16-60-1805 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 798.3918 | 798.39
|  |  |  | 0 | 0
| Flow Meter |  |  | 0 | 0
|  |  |  | 0 | 0
C | Installation of Flow Meter 16-65-4100 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 798.3918 | 798.39
|  |  |  | 0 | 0
D | Installation of Flow Meters 16-65-4200/4300 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 1596.7835 | 1596.78
|  |  |  | 0 | 0
| Air Cannons |  |  | 0 | 0
|  |  |  | 0 | 0
A | Installation of 4 Air Cannons 16-70-190 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 1451.6214 | 1451.62
|  |  |  | 0 | 0
B | Installation of 4 Air Cannons 16-70-125 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 1451.6214 | 1451.62
|  |  |  | 0 | 0
C | Installation of 4 Air Cannons 16-70-195 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 1451.6214 | 1451.62
|  |  |  | 0 | 0
D | Installation of 4 Air Cannons 16-70-185 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 1451.6214 | 1451.62
|  |  |  | 0 | 0
| Belt Scale |  |  | 0 | 0
|  |  |  | 0 | 0
A | Installation of Belt Scale 14-75-5100 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 725.8107 | 725.81
|  |  |  | 0 | 0
B | Installation of Belt Scale 14-75-5120 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 725.8107 | 725.81
|  |  |  | 0 | 0
C | Installation of Diverter Gate 16-75-0750 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 827.4242 | 827.42
|  |  |  | 0 | 0
D | Installation of Diverter Gate 16-75-0755 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 827.4242 | 827.42
|  |  |  | 0 | 0
A | Installation of Belt Scales 16-75-5140/5141 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 1451.6214 | 1451.62
|  |  |  | 0 | 0
B | Installation of Belt Scale 16-75-5200 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 725.8107 | 725.81
|  |  |  | 0 | 0
| Sound Absorber |  |  | 0 | 0
|  |  |  | 0 | 0
C | Installation of Sound Absorber 16-80-7205 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 3792.3609 | 3792.36
|  |  |  | 0 | 0
D | Installation of Sound Absorber 16-80-7305 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 3792.3609 | 3792.36
|  |  |  | 0 | 0
A | Installation of Sound Absorber 16-80-7405 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 3792.3609 | 3792.36
|  |  |  | 0 | 0
B | Installation of Sound Absorber 16-80-7105 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 3309.6968 | 3309.7
|  |  |  | 0 | 0
| Bag House Filter |  |  | 0 | 0
|  |  |  | 0 | 0
C | Installation of Bag House Filter 16-85-600 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 52403.5323 | 52403.53
|  |  |  | 0 | 0
D | Installation of Inlet Filter 16-85-405 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 81.0876 | 81.09
|  |  |  | 0 | 0
A | Installation of Bag House Filter 16-85-400 with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 81363.3791 | 81363.38
|  |  |  | 0 | 0
B | Installation of Bag House Inlet Valve 16-85-600 M1 with all necessary components as per design drawings, vendor's documentation and requirements, Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 725.8107 | 725.81
|  |  |  | 0 | 0
C | Installation of Bag House Inlet Valve 16-85-600 M2 with all necessary components as per design drawings, vendor's documentation and requirements, Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 725.8107 | 725.81
|  |  |  | 0 | 0
D | Installation of Bag House Fresh Air Valve 16-85-400 V4 with all necessary components as per design drawings, vendor's documentation and requirements, Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 725.8107 | 725.81
|  |  |  | 0 | 0
A | Installation of Dryer Inlet Valve 16-25-400 V11 with all necessary components as per design drawings, vendor's documentation and requirements, Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 435.4864 | 435.49
|  |  |  | 0 | 0
B | Installation of Dryer Inlet Valve 16-25-400 V12 with all necessary components as per design drawings, vendor's documentation and requirements, Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 725.8107 | 725.81
|  |  |  | 0 | 0
C | Installation of Dryer Inlet Valve 16-25-400 V13 with all necessary components as per design drawings, vendor's documentation and requirements, Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 725.8107 | 725.81
|  |  |  | 0 | 0
D | Installation of Dryer Inlet Valve 16-25-400 V14 with all necessary components as per design drawings, vendor's documentation and requirements, Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 725.8107 | 725.81
|  |  |  | 0 | 0
A | Installation of Dryer Inlet Valve 16-25-400 V15 with all necessary components as per design drawings, vendor's documentation and requirements, Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 725.8107 | 725.81
|  |  |  | 0 | 0
B | Installation of Dryer Inlet Valve 16-25-400 V16 with all necessary components as per design drawings, vendor's documentation and requirements, Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 725.8107 | 725.81
MECHANICAL WORKS
| To Summary |  |  | J.D. | 8391516.17

## 4 EL
Item | Description | Qty | Unit | Rate | Amount
J.D
ELECTRICAL WORKS
26 ELECTRICAL
SUPPLY AND INSTALLATION WORKS
260536 - CABLE TRAYS FOR ELECTRICAL SYSTEMS
Cable Trays (Ladder Type); hot dip galvanized with powder coating
A | 150mm | 570 | m | 95.3668 | 54359.08
|  |  |  | 0 | 0
B | 300mm | 155 | m | 100.8668 | 15634.35
|  |  |  | 0 | 0
C | 450mm | 125 | m | 113.598 | 14199.75
|  |  |  | 0 | 0
D | 600mm | 45 | m | 128.7348 | 5793.07
|  |  |  | 0 | 0
E | 900mm | 135 | m | 157.0428 | 21200.78
|  |  |  | 0 | 0
| Cable Trays (Ladder Type); hot dip galvanized with powder coating and elevated cover |  |  | 0 | 0
|  |  |  | 0 | 0
F | 600mm | 20 | m | 233.5842 | 4671.68
|  |  |  | 0 | 0
G | 900mm | 260 | m | 290.4262 | 75510.81
|  |  |  | 0 | 0
| 262726 - WIRING DEVICES |  |  | 0 | 0
|  |  |  | 0 | 0
| Wiring devices including boxes, conduits, wires and connections to power source, covers, supports, fittings and accessories; As shown on drawings and described in the specifications . |  |  | 0 | 0
|  |  |  | 0 | 0
| Socket outlets |  |  | 0 | 0
|  |  |  | 0 | 0
H | Combined unit socket outlet | 14 | Nr | 4014.0054 | 56196.08
0
| Electrical Outlets |  |  | 0 | 0
|  |  |  | 0 | 0
A | 20 A, 2P, weatherproof | 21 | Nr | 172.0422 | 3612.89
0
| 265600 - EXTERIOR LIGHTING |  |  |  | 0
|  |  |  | 0 | 0
B | Type F1 | 24 | Nr | 1211.34 | 29072.16
|  |  |  | 0 | 0
C | Type F2 | 324 | Nr | 1175.38 | 380823.12
0
D | Type F6 | 12 | Nr | 1175.38 | 14104.56
ELECTRICAL WORKS
| To Summary |  |  | J.D | 675178.33

## 5 External Feed
Item | Description | Qty | Unit | Rate | Amount
J.D
OPTIONAL PROVISION FOR EXTERNAL PROCESS FEED WORKS
SUPPLY AND INSTALL
01 GENERAL REQUIREMENTS
011117 - MECHANICAL AND PIPING SCOPE OF WORK
A | Testing and commisioning in conjunction with the blow works | 1 | Item | 3002 | 3002
0
| EXCAVATION, BACKFILL, AND COMPACTION FOR INSTALLATION |  |  |  | 0
0
B | Excavation | 1 | Item | 19796 | 19796
0
C | Backfill | 1 | Item | 14847 | 14847
0
| 03 - CONCRETE |  |  |  | 0
0
| All Concrete Works for External Feed Equipment | 1 | Item | 28869 | 28869
0
| 05 STRUCTURAL STEEL FRAMING |  |  |  | 0
0
| All works shall be completed in all respect as per specifications, method of measurement, drawings or as directed by the Contractor Engineer. |  |  |  | 0
0
A | High Strength Steel | 50 | T | 3100 | 155000
0
| Fabricate, Supply, Transport and Erect in position structural steel work and framing including steel columns, steel beams, steels canopy, truss, gratings, handrails, stairs, ladders, cable tray rack structure, connections design, shop drawings, all bolts, nuts, washers, plates, base plates, stiffening plates, gusset plates, holding down of anchor bolts, shear connectors, angle sections, cleats, bracing, etc. including grouting, cutting, welding, threading, fixing and corrosion protection paint system to ensure life to first maintenance as per specifications. Allowance for steel-to-steel connections, caps, plates,embeded plates and bases, fittings, weight of welds, bolts, nuts, washers, shear studs, rivets and weight of protective coatings, etc. are considered as a percentage of total steel tonnage (max of 30 % is envisaged) This shall include the analysis, design and detailing of all steelwork joints and connections during the development of Contractor's (and sub-contractors') steelwork shop drawings. |  |  |  | 0
0
| 25 - INTEGRATED AUTOMATION |  |  |  | 0
0
A | Supply, Installation, Connection, Testing and Commissioning of all I&C Works for External Feed Equipment | 1 | Item | 24548.9006 | 24548.9
0
| 26 ELECTRICAL |  |  |  | 0
0
B | Supply, Installation, Connection, Testing and Commissioning of all Electrical Works for External Feed Equipment | 1 | Item | 24548.9006 | 24548.9
| 40 MECHANICAL |  |  |  | 0
0
| 403200 - CHUTES, DIVERTERS, BINS |  |  |  | 0
0
| Hopper |  |  |  | 0
0
C | Hopper similar to 16-35-100 with steel mesh including steel support, steel frame, and all accessories and components and as indicated in drawings and specifications | 1 | Item | 53873.0936 | 53873.09
0
| Rotary Valve |  |  |  | 0
0
D | 100T/h Rotary Valve similar to 16-54-800 | 1 | Nr | 16870.4731 | 16870.47
0
| Chutes |  |  |  | 0
0
E | All Chute Works for External Feed Equipment | 1 | Item | 33964.1664 | 33964.17
0
| Take Delivery & Install |  |  |  | 0
0
| 41 - MATERIAL PROCESSING AND HANDLING EQUIPMENT |  |  |  | 0
| 410000 - MECHANICAL & PIPING CONSTRUCTION SPECIFICATION |  |  |  | 0
0
| Belt Conveyor |  |  |  | 0
0
A | Installation of 25 meters long 100T/h Belt Conveyor with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 27217.9011 | 27217.9
0
B | Installation of 15 meters long 100T/h Belt Conveyor with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 21048.5102 | 21048.51
0
| Bucket Elevator |  |  |  | 0
0
C | Installation of 43 meters high 100T/h Bucket Elevator with all necessary components as per design drawings, vendor's documentation and requirements. Including supply and manufacturing of miscellaneous items indicated on vendor drawings or necessary for the correct equipment installation. | 1 | Item | 54871.2887 | 54442.29
OPTIONAL PROVISION FOR EXTERNAL PROCESS FEED WORKS
| To Summary |  |  | J.D. | 478028.23

## 5 SUMMARY
SUMMARY
ITEM |  |  | AMOUNT
J.D
1 | STRUCTURAL WORKS |  | 14888794.42
2 | ARCHITECTURAL WORKS |  | 181885.02
3 | MECHANICAL WORKS |  | 8391516.17
4 | ELECTRICAL WORKS |  | 675178.33
5 | OPTIONAL PROVISION FOR EXTERNAL PROCESS FEED WORKS |  | 478028.23
TOTAL
| To General Summary | J.D | 24615402.17