## 0 INTERLEAF
ER001: LOADING STATIONS ELECTRICAL
ROOM

## 1 ST
Item | Description | Qty | Unit | Rate | Amount
J.D
STRUCTURAL WORK
03 - CONCRETE
33000 - CAST IN PLACE CONCRETE
Cast in place concrete with 11 mpa compressive strength(cylinder); sulphate resisting portland cement; plain
A | Blinding | 3 | m³ | 103 | 309
0
| Cast in place concrete with 35 mpa compressive strength(cylinder); ordinary portland cement; reinforced |  |  |  | 0
0
B | Isolated foundations | 10 | m³ | 186 | 1860
0
C | Ground beams | 4 | m³ | 192 | 768
0
D | Beds | 7 | m³ | 192 | 1344
0
E | Slabs | 10 | m³ | 186 | 1860
0
F | Attached drop beams (drop part below slab only) | 3.5 | m³ | 192 | 672
0
G | Isolated columns | 4.5 | m³ | 199 | 895.5
0
H | Upstands | 4 | m³ | 192 | 768
0
| Steel reinforcement |  |  |  | 0
0
J | High yield steel; 420 mpa specified yield strength | 6.2 | T | 1031 | 6392.2
0
| 07 - THERMAL AND MOISTURE PROTECTION |  |  |  | 0
0
| 71113 - BITUMINOUS DAMP-PROOFING |  |  |  | 0
0
| Bituminous damp-proofing coating, applied to reinforced 'concrete surfaces in direct contact with soil not receiving water proofing membrane ,including appropriate protection system, for the following: |  |  |  | 0
0
A | Foundations ( sides & top) | 40 | m² | 10 | 400 | 50 | 10 | 100
0
B | Columns, | 7 | m² | 10 | 70
0
C | Ground beams, | 30 | m² | 10 | 300
0
| 31 - EARTHWORK |  |  |  | 0
0
| 311000 - SITE CLEARING |  |  |  | 0
0
| Site preparation |  |  |  | 0
0
D | Clearing the site generally | 1 | Item | 13747 | 13747
0
| 312000 - EARTHMOVING |  |  |  | 0
0
| Excavating |  |  |  | 0
0
E | To reduce levels | 50 | m³ | 5 | 250
0
| Soil fill and engineered fill |  |  |  | 0
0
F | Engineered fill | 5 | m³ | 8 | 40
STRUCTURAL WORK
| To Summary |  |  | J.D | 29675.7

## 2 AR
Item | Description | Qty | Unit | Rate | Amount
J.D
ARCHITECTURAL WORKS
03- CONCRETE
034500 - PRECAST ARCHITECTURAL CONCRETE
Precast concrete; ordinary Portland cement, smooth finish, reinforced; including fittings and fixings; complete; as specified and shown on Drawings
A | Curb; 150 x 300 high | 36 | m | 21 | 756
0
| Precast concrete pavers and fittings; including sand and bedding mortar; to |  |  |  | 0
0
B | Walkaway | 32 | m² | 27 | 864
0
| 035440 - CEMENT BASED SCREED |  |  |  | 0
0
| Cement-sand screed; finished to receive sheet membrane, laid to falls and cross falls; to |  |  |  | 0
0
C | Roofs; 100 thick | 37 | m² | 21 | 777
0
D | Triangular fillet; 50 x 50 | 26 | m | 69 | 1794
0
| Cement-sand screed topping; trowelled finish, to receive flexible finish; to |  |  |  | 0
0
E | Floors; 100 thick | 37 | m² | 21 | 777
0
| 04 - MASONRY |  |  |  | 0
0
| 042000 - UNIT MASONRY |  |  |  | 0
0
| Concrete hollow blocks; ordinary Portland cement; fire rated where required; including mortar for bedding and jointing; complete; as specified and as shown on Drawings; to |  |  |  | 0
0
A | 100 thick | 92 | m² | 41 | 3772
0
B | 150 thick | 91 | m² | 48 | 4368
0
| 07- THERMAL AND MOISTURE PROTECTION |  |  |  | 0
0
| 072100 - THERMAL INSULATION |  |  |  | 0
0
| Extruded polystyrene insulation boards; including fittings and fixings; complete; as specified and shown on Drawings; to |  |  |  | 0
0
C | Roofs; 100 thick | 37 | m² | 10 | 370
0
| 075216 - STYRENE - BUTADIENE - STYRENE (SBS) MODIFIED BITUMINOUS MEMBRANE ROOFING |  |  |  | 0
0
| Single layers (SBS) modified bituminous sheet membrane roofing; complete; as specified and as drawings; to |  |  |  | 0
0
D | Roofs | 37 | m² | 14 | 518
0
E | Upstands | 12 | m² | 14 | 168
0
| Filter membrane; vapour permeable geotextile, non woven thermally bonded continuous polypropylene filaments; to |  |  |  | 0
0
A | Roofs | 37 | m² | 14 | 518
0
| Vapour barrier primer; to |  |  |  | 0
0
B | Roofs | 37 | m² | 14 | 518
0
| Elastomeric coating; U.V. protection to waterproof membrane; to |  |  |  | 0
0
C | Upstands | 4 | m² | 17 | 68
0
| Protective covering ballast; uniformly sized gravel; to |  |  |  | 0
0
D | Roofs; 50 thick | 37 | m² | 14 | 518
0
| 077200 - ROOF ACCESSORIES |  |  |  | 0
0
| Accessories; aluminium alloy; as specified and as shown on Drawings |  |  |  | 0
0
E | Pressure plate; 4 thick; including backing cord and sealant | 26 | m | 206 | 5356
0
| 08 - OPENINGS |  |  |  | 0
0
| 081113 - HOLLOW METAL DOORS AND FRAMES |  |  |  | 0
0
| Flush steel doors; constructed from steel section frame, infill with non combustible thermal and acoustic insulating material where required, galvanized steel sheet both skins, factory primed for painting; including frames, architraves, paint, hardware, fittings and fixings; complete; as specified and as per door schedule |  |  |  | 0
0
| Non-fire rated doors |  |  |  | 0
0
A | Leaf type B01-A; Size 1580 x 2525 high | 1 | Nr | 1100 | 1100
0
| 09- FINISHES |  |  |  | 0
0
| 092400 - PORTLAND CEMENT PLASTERING |  |  |  | 0
0
| Cement-sand plaster; plain finish; to |  |  |  | 0
0
B | Walls; 15 thick; internal | 97 | m² | 21 | 2037
0
C | Walls; 20 thick; external | 172 | m² | 27 | 4644
0
| 099113 - EXTERIOR PAINTING |  |  |  | 0
0
| External acrylic emulsion paint; resin based, water-resistant suitable for repeated washing and scrubbing; to concrete, masonry, render and plaster, to |  |  |  | 0
0
D | General surfaces; external | 172 | m² | 10 | 1720
0
| 099123 - INTERIOR PAINTING |  |  |  | 0
0
| Interior acrylic emulsion paint, water resistant suitable for repeated washing and scrubbing, to concrete, masonry, render and plaster; to |  |  |  | 0
0
A | General surfaces; internal | 134 | m² | 8 | 1072
0
| 099600 - HIGH PERFORMANCE COATINGS |  |  |  | 0
0
| Epoxy concrete floor sealer; heavy duty, water dispersed, chemical resistant, coloured, dustproofer and surface sealer; to |  |  |  | 0
0
B | Floors | 37 | m² | 23 | 851
0
C | Skirting; 100 high coved | 24 | m | 23 | 552
ARCHITECTURAL WORKS
| To Summary |  |  | J.D | 33118

## 3 ME
Item | Description | Qty | Unit | Rate | Amount
J.D
MECHANICAL WORK
10 - SPECIALTIES
104400 - FIRE PROTECTION SPECIALTIES
Fire extinguishers
A | FE-1 (4.5kg Dry Chemical extinguisher) | 1 | Nr | 445.7269 | 445.73
0
B | FE-2 (4.5kg CO2 extinguisher) | 1 | Nr | 445.7269 | 445.73
0
| 22 - PLUMBING |  |  |  | 0
0
| 221316 - SANITARY WASTE AND VENT PIPING |  |  |  | 0
| Including piping, fittings, connections, joints, encasement and valves |  |  |  | 0
0
| Storm Drain - CAST IRON |  |  |  | 0
0
C | 110 mm dn | 10 | m | 69 | 690
0
| 221423 FL - STORM DRAINAGE PIPING SPECIALTIES |  |  |  | 0
0
| Roof Drain |  |  |  | 0
0
E | SRD-1 110mm dn | 2 | Nr | 687 | 1374
0
| 23 - HEATING, VENTILATION & AIR CONDITIONING |  |  |  | 0
0
| 230719 - HVAC PIPE INSULATION |  |  |  | 0
0
| EXPOSED INSULATION APPLICATION (INSIDE MECHANICAL ROOMS AND EXPOSED AT HIGH LEVEL) |  |  |  | 0
0
| Condensate drain piping |  |  |  | 0
0
| Pipe, all sizes: 19 mm flexible elastomeric with Aluminum jacketing |  |  |  | 0
0
A | 32mm diameter | 11 | m | 167 | 1837
0
| 232113 - HYDRONIC PIPING |  |  |  | 0
0
| Complete with fitting, joints, flexible connectors, unions, flanges, couplings |  |  |  | 0
0
| CPVC plastic pipe |  |  |  | 0
0
| Condensate drain |  |  |  | 0
0
B | 32 mm dn | 11 | m | 167 | 1837
0
| 238126 - Split DX including indoor and outdoor units, refrigerant piping, insulation, accessories and installation as specified in Part 4 and as shown on schedules, and detailed on design drawings |  |  |  | 0
0
C | FSAU-ER-01 TO 02/FSCU-ER-01 TO 02 | 2 | Nr | 5358 | 10716
0
D | SRCU-ER-01/FSCU-ER-01 | 1 | Nr | 5358 | 5358
0
| 25 - INTEGRATED AUTOMATION |  |  |  | 0
0
| Supply, Installation, Connection, Testing and Commissioning Works of: |  |  |  | 0
0
A | New PLC Cabinet serving the truck loading station, with all required components such as but not limited to CPU (ABB 800xA PM856AK01), IO modules, communication modules, dual industrial ethernet managed switches, programming software, power supply units, trunking, terminal strips, fuses, relays, circuit breakers, fans, media converters, enclosure, all necessary accessories and internal wiring, all for the proper and safe operation of the system, and all as per the Employer's requirements and in coordination with the Employer, as per relevant drawings and specifications, including the integration to the Existing DCS for the seamless transfer of all monitoring and control points, including but not limited to points mapping and graphics creation, alarms and trends creation. | 1 | Item | 242056 | 242056
|  |  |  | 0 | 0
B | Integration of the container loading station PLC Cabinet to the existing DCS for the seamless transfer of all monitoring and control points, including but not limited to points mapping and graphics creation, alarms and trends creation. | 1 | Item | 52400 | 52400
|  |  |  | 0 | 0
C | Wall Mounted Temperature Transmitter installed in the new electrical room serving the loading stations; and all necessary items as per relevant drawings and specifications.specifications. | 1 | Nr | 1174.84 | 1174.84
|  |  |  | 0 | 0
|  |  |  | 0 | 0
A | Instrumentation & Control Cable Ladder 300 mm hot dip galvanized with powder coating, elevated cover and all necessary items as per relevant drawings and specifications. | 25 | m | 133.5862 | 3339.65
|  |  |  | 0 | 0
B | Profibus Cables for Truck Loading Station MCC motor managers and digital protection relay unit interface with the relevant PLC, as per relevant drawings and specifications. | 100 | m | 16.2048 | 1620.48
|  |  |  | 0 | 0
C | Communication Cable from loading stations UPS to Truck Loading Station PLC Cabinet, as per relevant drawings | 20 | m | 13.2564 | 265.13
|  |  |  | 0 | 0
D | 1.5mm2,300V, 2 pairs,Individually&overall shielded,armoured, as per relevant drawings and specifications. | 10 | m | 18.4024 | 184.02
|  |  |  | 0 | 0
E | 1.5mm2,300V, 8 pairs,Individually&overall shielded,armoured, as per relevant drawings and specifications. | 100 | m | 32.6004 | 3260.04
|  |  |  | 0 | 0
F | 24 Cores Fiber Optic Multi Mode Armoured Cables, from the Truck Loading Station PLC cabinet to the new IT DCS Communication Cabinet, as per relevant drawings and specifications | 400 | m | 11.0772 | 4430.88
|  |  |  | 0 | 0
A | 24 Cores Fiber Optic Multi Mode Armoured Cables, from the Container Loading Station PLC cabinet to the new IT DCS Communication Cabinet, as per relevant drawings and specifications | 400 | m | 11.0772 | 4430.88
|  |  |  | 0 | 0
B | 2Φ 150mm UPVC Sleeves, between the I&C cable trench and the finished floor level of the electrical room, with all required installation accessories. | 5 | m | 19.656 | 98.28
|  |  |  | 0 | 0
C | All required fiber optic patch cord cables (multi-mode), as required and as per relevant drawings and specifications. | 1 | Item | 1944.48 | 1944.48
|  |  |  | 0 | 0
D | All bulk material including but not limited to rigid cable conduits, conduits and supports, cable connectors and terminators, required for the complete operation of the system as indicated in relevant Drawings & Documents | 1 | Item | 3144.96 | 3144.96
|  |  |  | 0 | 0
E | All cables, relays, contactors, connection boxes, panels, not covered in Contractor scope mentionned above, but required for the complete operation of the system as indicated in related Contract Drawings & Documents | 1 | Item | 4914 | 4914
MECHANICAL WORK
| To Summary |  |  |  | 345967.1

## 4 EL
Item | Description | Qty | Unit | Rate | Amount
J.D
ELECTRICAL WORKS
SUPPLY AND INSTALLATION WORKS
260519 - LOW-VOLTAGE ELECTRICAL POWER CONDUCTORS AND CABLES
Multi-core, copper conductor, XLPE insulated, PVC sheathed feeder cables; armoured; 0.6/1 kV
A | 3C,4mm2 | 1277 | m | 7.6427 | 9759.75
|  |  |  | 0 | 0
B | 3C,25mm2 | 121 | m | 17.7321 | 2145.58
|  |  |  | 0 | 0
| 260536 - CABLE TRAYS FOR ELECTRICAL SYSTEMS |  |  | 0 | 0
|  |  |  | 0 | 0
| Cable Trays (Ladder Type); hot dip galvanized with powder coating |  |  | 0 | 0
|  |  |  | 0 | 0
C | 450mm | 20 | m | 113.598 | 2271.96
|  |  |  | 0 | 0
D | 900mm | 5 | m | 157.0428 | 785.21
|  |  |  | 0 | 0
| 260543 - UNDERGROUND DUCTS AND RACEWAYS FOR ELECTRICAL SYSTEMS |  |  | 0 | 0
|  |  |  | 0 | 0
| Sleeves |  |  | 0 | 0
|  |  |  | 0 | 0
E | 3ø, 150mm | 2 | m | 786.24 | 1572.48
|  |  |  | 0 | 0
| 262416 - PANELBOARDS |  |  | 0 | 0
|  |  |  | 0 | 0
| Complete including mounting, fixing, supports, termination of incoming and outgoing cables, accessories, etc. |  |  | 0 | 0
|  |  |  | 0 | 0
| Distribution panelboard |  |  | 0 | 0
|  |  |  | 0 | 0
A | LP-ER-01 | 1 | Nr | 2004.88 | 2004.88
|  |  |  | 0 | 0
B | PP-ER-01 | 1 | Nr | 1990 | 1990
|  |  |  | 0 | 0
C | UPP-ER-01 | 1 | Nr | 1715.96 | 1715.96
|  |  |  | 0 | 0
| 262419 - MOTOR CONTROL CENTERS |  |  | 0 | 0
|  |  |  | 0 | 0
D | MCC No. MCC-TLS | 1 | Nr | 139785.712 | 139785.71
|  |  |  | 0 | 0
| 262726 - WIRING DEVICES |  |  | 0 | 0
|  |  |  | 0 | 0
| Wiring devices including boxes, conduits, wires and connections to power source, covers, supports, fittings and accessories; As shown on drawings and described in the specifications . |  |  | 0 | 0
|  |  |  | 0 | 0
| Lighting Switches |  |  | 0 | 0
|  |  |  | 0 | 0
E | One way switch, two gangs | 1 | Nr | 172.9494 | 172.95
|  |  |  | 0 | 0
| Electrical Outlets |  |  | 0 | 0
|  |  |  | 0 | 0
F | 20 A, 2P | 2 | Nr | 172.9494 | 345.9
|  |  |  | 0 | 0
G | 20 A, 2P, weatherproof | 1 | Nr | 192.656 | 192.66
|  |  |  | 0 | 0
| Socket outlets |  |  | 0 | 0
|  |  |  | 0 | 0
H | 13 A socket outlet, simplex | 3 | Nr | 172.9494 | 518.85
|  |  |  | 0 | 0
J | 13 A socket outlet, simplex, weatherproof | 1 | Nr | 192.656 | 192.66
|  |  |  | 0 | 0
| 262816 - ENCLOSED SAFETY SWITCHES |  |  | 0 | 0
|  |  |  | 0 | 0
| Isolating switches |  |  | 0 | 0
|  |  |  | 0 | 0
A | 20 A, 4P, weatherproof | 3 | Nr | 242.3761 | 727.13
|  |  |  | 0 | 0
| 263353 - STATIC UNINTERRUPTIBLE POWER SUPPLY |  |  | 0 | 0
|  |  |  | 0 | 0
| UPS system (dual-redundant type) complete, including built-in batteries, charger, inverter transfer switch and manual by-pass switch |  |  | 0 | 0
|  |  |  | 0 | 0
B | UPS-ER-01; 10 kVA; with 3 phase, 400 V, 50 Hz input and 3 phase, 400 V, 50 Hz output | 1 | Nr | 126848.7392 | 126848.74
|  |  |  | 0 | 0
| 265100 - INTERIOR LIGHTING |  |  | 0 | 0
|  |  |  | 0 | 0
| Lighting fixtures as specified and shown on the drawings. |  |  | 0 | 0
|  |  |  | 0 | 0
C | Type B1 | 3 | Nr | 225.54 | 676.62
|  |  |  | 0 | 0
D | Type O1 | 1 | Nr | 253.44 | 253.44
ELECTRICAL WORKS
| To Summary |  |  | J.D | 291960.48

## 5 TL
Item | Description | Qty | Unit | Rate | Amount
J.D
TELECOMMUNICATION WORK
27 - COMMUNICATIONS
270555-IDENTIFICATION FOR COMMUNICATIONS SYSTEMS(TIA)
Identification for Communications Systems
A | System Administration Scheme - as specified | 1 | Item | 4551.7793 | 4551.78
|  |  |  | 0 | 0
| 271505-COMMUNICATIONS HORIZONTAL CABLING(TIA) |  |  | 0 | 0
|  |  |  | 0 | 0
| Supply, install and place at location; including internal cabling and raceways within the building and all equipment and accessories specified and deemed necessary for the structured cabling such as cable trays, cables, patch panels, patch cords, first fix and data outlets, etc. Along with required testing and commissioning. |  |  | 0 | 0
|  |  |  | 0 | 0
B | Single Cat 6A F/UTP RJ45 Outlet; Wall-Mounted | 1 | Nr | 198.8461 | 198.85
|  |  |  | 0 | 0
| Spare Part, Tools and Instruments; |  |  | 0 | 0
|  |  |  | 0 | 0
C | Set of spare parts | 1 | Item | 147.2934 | 147.29
|  |  |  | 0 | 0
D | Set of tools and instruments | 1 | Item | 147.2934 | 147.29
|  |  |  | 0 | 0
| 28 - ELECTRONIC SAFETY AND SECURITY |  |  | 0 | 0
|  |  |  | 0 | 0
| 282000-VIDEO SURVEILLANCE SYSTEM (VSS) |  |  | 0 | 0
|  |  |  | 0 | 0
| Supply, install and place at location; including internal cabling and raceways and all equipment and accessories specified and deemed necessary for the security system such as Power Supplies and Power Cabling provision, FO cables, FO to CAT6a converters, etc. along with required testing and commissioning. |  |  | 0 | 0
|  |  |  | 0 | 0
A | Wall Mounted fixed Camera, Weatherproof including FO to CAT6a converter, and FO cabling to connect to substation | 1 | Nr | 1923.6519 | 1923.65
|  |  |  | 0 | 0
| Spare Part, Tools and Instruments |  |  | 0 | 0
|  |  |  | 0 | 0
B | Set of spare parts | 1 | Item | 294.5868 | 294.59
|  |  |  | 0 | 0
C | Set of tools and instruments | 1 | Item | 294.5868 | 294.59
|  |  |  | 0 | 0
| SEC-284621.11-ADDRESSABLE FIRE-ALARM SYSTEM |  |  | 0 | 0
|  |  |  | 0 | 0
| Supply, install and place at location; including internal cabling and raceways within the building and all equipment and accessories specified and deemed necessary for the fire alarm system such as FACP, detectors, manual pull stations, notification devices, monitor and control modules for the interface with ACMV and electrical equipment etc. Along with integration with existing system and required testing and commissioning. |  |  | 0 | 0
|  |  |  | 0 | 0
D | Manual Fire Alarm Station | 1 | Nr | 282.6855 | 282.69
|  |  |  | 0 | 0
E | Optical Smoke Detector, Ceiling Mounted | 1 | Nr | 231.4274 | 231.43
|  |  |  | 0 | 0
F | Horn with Strobe Light 30 CD, Wall Mounted | 1 | Nr | 287.8113 | 287.81
A | Addressable Control Modules | 1 | Item | 1048.022 | 1048.02
|  |  |  | 0 | 0
B | Addressable Monitor Modules | 1 | Item | 578.7452 | 578.75
|  |  |  | 0 | 0
| Spare Part, Tools and Instruments |  |  | 0 | 0
|  |  |  | 0 | 0
C | Set of spare parts | 1 | Item | 294.5868 | 294.59
|  |  |  | 0 | 0
D | Set of tools and instruments | 1 | Item | 294.5868 | 294.59
0
0
0
0
TELECOMMUNICATION WORK
| To Summary |  |  |  | 10575.92

## 6 SUMMARY
SUMMARY
ITEM |  |  | AMOUNT
J.D
1 | STRUCTURAL WORKS |  | 29675.7
2 | ARCHITECTURAL WORKS |  | 33118
3 | MECHANICAL WORKS |  | 345967.1 | 0
4 | ELECTRICAL WORKS |  | 291960.48
5 | TELECOMMUNICATION WORK |  | 10575.92
TOTAL
| To General Summary | J.D | 711297.2 | 0